CYPRUS Market Management System

Market Participant Interfaces Technical Description

March 2021

Version 1.0

| TRANSMISSION SYSTEM OPERATOR Market Participant Interfaces Technical Description |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Document and Revision Level |  |  |  | Publication Date |  |
| Market Participant Interfaces |  |  | March 2021 |  |  |
| Revision History |  |  |  |  |  |
| Date | Revision | Revision Details |  |  |  |
| 30/03/2021 | 1.0 | Initial Version |  |  |  |

Contents

1	Introduction	6

1.1	Purpose	6

1.2	Market Participant Data Exchange overview	7

1.2.1	Common Information Model (CIM)	8

1.3	2-factor authentication for web services	9

1.4	List with data files exchanged with Market Participants	10

2	Market Participants Input XML Interfaces	11

2.1	Non-availability declaration Description	11

2.1.1	Interface Format	11

2.1.2	Validation Rules	14

2.2	Techno-economic Declaration Description	18

2.2.1	Interface Format	18

2.2.2	Validation Rules	19

2.3	DAM Energy Offers and Bids Description	21

2.3.1	Interface Format	21

2.3.2	Validation Rules	24

2.4	Replacement Reserve Quantity Nominations	30

2.4.1	Interface Format	30

2.4.2	Validation Rules	32

2.5	Physical Offtake/ Delivery Nominations	35

2.5.1	Interface Format	35

2.5.2	Validation Rules	37

2.6	Forward Contract Nominations	40

2.6.1	Interface Format	40

2.6.2	Validation Rules	42

2.7	Bids for RR, BS and CR	44

2.7.1	Interface Format	44

2.7.2	Validation Rules	47

2.8	Balancing Energy Offers	51

2.8.1	Interface Format	51

2.8.2	Validation Rules	54

2.9	Balancing Reserve Capacity Offers	61

2.9.1	Interface Format	61

2.9.2	Validation Rules	64

2.10	RES Injection Forecast	68

2.10.1	Interface Format	68

2.10.2	Validation Rules	70

2.11	DAM Margin	72

2.11.1	Interface Format	72

2.11.2	Validation Rules	74

3	Forward Market Output XML Interfaces	75

3.1	Net Delivery Position	75

3.1.1	Interface Format	75

3.2	Participant Forward Market Mismatch Quantity	78

3.2.1	Interface Format	78

3.3	Auction specifications for RR, BS and CR	81

3.3.1	Interface Format	81

3.4	Awarded bids for RR, BS and CR	85

3.4.1	Interface Format	85

3.5	Acknowledgment for all types of input files	88

3.5.1	Interface Format	88

3.6	Anomaly for Forward Contract Nominations	90

3.6.1	Interface Format	90

3.7	Confirmation for Forward Contract Nominations	93

3.7.1	Interface Format	93

4	Day Ahead Market Output XML Interfaces	97

4.1	Forecasted Market Clearing Prices	97

4.1.1	Interface Format	97

4.2	Market Clearing Prices	100

4.2.1	Interface Format	100

4.3	DAM Cleared Energy volumes and Prices	103

4.3.1	Interface Format	103

4.4	Market Schedules	106

4.4.1	Interface Format	106

5	Balancing Market Output XML Interfaces	109

5.1	Commitment Schedules	109

5.1.1	Interface Format	109

5.2	ISP Reserve Awards	112

5.2.1	Interface Format	112

5.3	Marginal Reserve Prices	115

5.3.1	Interface Format	115

5.4	Indicative dispatch Schedules	118

5.4.1	Interface Format	118

5.5	Planned Activation of Balancing Energy Offer	121

5.5.1	Interface Format	121

5.6	Planned ISP Marginal Balancing Energy prices	124

5.6.1	Interface Format	124

5.7	Prospective payments	127

5.7.1	Interface Format	127

5.8	Balancing Energy Offer Awards	130

5.8.1	Interface Format	130

5.9	Marginal Balancing Energy Prices	133

5.9.1	Interface Format	133

5.10	Dispatch Instructions	136

5.10.1	Interface Format	136

6	Settlement Application Output XML Interfaces	140

6.1	Statement file	140

6.1.1	Interface Format	140

6.2	Notice file	148

6.2.1	Interface Format	148

7	Associated xsd Schemas	158

# Introduction

The Transmission System Operator Cyprus (TSOC) has been commissioned by the Cyprus Energy Regulatory Authority (CERA) to implement the trading arrangements for the new Electricity Market in Cyprus. This follows extensive consultation and development of the Market Rules (Trading and Settlement Rules 2017) which set-out the responsibilities and obligations for the Net Pool market arrangements in Cyprus.

The Net Pool market incorporates a Forwards Market, Day Ahead Market (DAM) and Balancing Market. An Integrated Scheduling Process (ISP) along with a real time Balancing Market (RTBM) will provide the TSO with the ability to procure and activate balancing services. The Market Operator (MO) function which has been assigned to TSOC will undertake settlement of these Markets with the exception of Bilateral Over the Counter (OTC) trading in the Forward Market. OTC contracts will be settled between the trading parties however penalties as a result of deviations from contracted positions will be settled by the MO.

The handling of the whole Electricity Market in Cyprus, is performed through a computer system called the Market Management System (MMS).

## Purpose

The purpose of this document is to detail the Market Participant Interfaces. This is a technical description including the protocols used and the security framework. It contains a list of all the Market Participant interfaces used for the submission and retrieval of data and include the format and field level data structures and data types used where appropriate.

This issue is the first draft of the document and it is created following the completion of the Detailed Design Phase (DDP) of the MMS. Even though no significant changes are envisaged to the system’s design the Market Participants should have in mind that minor (usually) changes might occur during the Implementation Phase.

There are 3 ways for the Market Participant to submit data to the MMS system:

- Using the MMS graphical user interface, a user connected over https with appropriate authorization can upload an XML file (over https)

- Web service, System to system connection with appropriate authorization can upload an XML file (soap over https)

- Using the MMS graphical user interface, a connected user with appropriate authorization can manually enter information in a web form.

In this document, only the second option is described, ( Web ServiceXML file interface).

## Market Participant Data Exchange overview

The following picture is an overview of the Market Participant Data Exchange types :

Figure 1: Market Participant Data Exchange overview

The system receives and sends data from and to the Market Participant using XML interfaces over https. Those interfaces will be connected to the business process through validation rules. These rules ensure that the received data is valid depending on both the data content and the business process state at the time the data is received.

For each message received the system will validate the XML against the XML Schema (xsd). If the XML is not valid it will be rejected. It will not be saved in database, and a message in the logs will describe the reason of the rejection (e.g. input file cannot be read).

For each message which has passed the XML schema validation an acknowledgement is generated including the result of the message validation. In case of a failed validation an explicit rejection reason will be logged and included in the acknowledgement message. It includes the Input type, the message identification, version and the data which caused the validation failure. A list of all system messages and exact request and output formats will be provided at a later stage (after the implementation phase of the relevant MMS modules)

### Common Information Model (CIM)

The common information model (CIM) is an abstract model that represents all the major objects in an electric utility enterprise typically involved in utility operations and electricity market management. By providing a standard way of representing power system resources as object classes and attributes, along with their relationships, the CIM facilitates the integration of MMS applications developed independently by different vendors, between entire MMS systems developed independently, or between an MMS system and other systems concerned with different aspects of market management,

CIM facilitates integration by defining a common language (i.e. semantics) based on the CIM to enable these applications or systems to access public data and exchange information independent of how such information is represented internally.

The CIM standards are continuously evolving to meet the changing requirements for data exchange, which are increasing in both frequency and type, with higher RES integration and the introduction of smart grids.

More details about the files used by CIM can be found on the ENTSO-E web site:

https://www.entsoe.eu/publications/electronic-data-interchange-edi-library/.

The system uses the CIM standards defined in EIC 62325-451. The ENTSO-E library provides detailed information on these standards and the structure of the XML documents.

For the Interfaces we use eight types of CIM document types listed below. The associated links are the ENTSO-E documentation for the two documents and provides the detailed structure and delimitation of these documents. Links to the ENTSO-E documentation packages for the associated XSD’s are also provided.

Schedule Market Document (EIC 62325-451-2)

https://eepublicdownloads.azureedge.net/clean-documents/EDI/Library/cim_based/schema/Schedule%20document%20uml%20model%20and%20schema%20v1.1.pdf

Energy Account Market Document (EIC 62325-451-4)

https://eepublicdownloads.blob.core.windows.net/public-cdn-container/clean-documents/EDI/Library/cim_based/schema/Energy%20account%20document%20and%20schema%20v1.pdf

Reserve Bid Market Document (iec62325-451-7)

https://eepublicdownloads.blob.core.windows.net/public-cdn-container/clean-documents/EDI/Library/cim_based/schema/Reserve_bid_document_UML_model_and_schema_v1.1.pdf

Auction Specification Market Document (iec62325-451-3)

https://eepublicdownloads.azureedge.net/clean-documents/EDI/Library/cim_based/schema/Capacity%20Auction%20document%20uml%20model%20and%20schema%20v1.0.pdf

Acknowledgment Specification Document (iec62325-451-1)

https://webstore.iec.ch/preview/info_iec62325-451-1%7Bed2.0%7Db.pdf

Anomaly Specification Document (EIC 62325-451-2)

https://eepublicdownloads.azureedge.net/clean-documents/EDI/Library/cim_based/schema/Schedule%20document%20uml%20model%20and%20schema%20v1.1.pdf

Confirmation Specification Document (EIC 62325-451-2)

https://eepublicdownloads.azureedge.net/clean-documents/EDI/Library/cim_based/schema/Schedule%20document%20uml%20model%20and%20schema%20v1.1.pdf

The required data in the MMS is mapped to the fields in the CIM documents. The XSD contains technical validations on the XML structure itself. In the interface descriptions it is specify the additional business validations which are performed by the MMS on receipt of a file.

## 2-factor authentication for web services

Access to web services from external systems requires a 2-factor authentication: each web service client uses Client Certificate issued by TSOC and is associated with a technical account protected by a user id and password. The SOAP request must hold a valid client certificate that is checked by the frontal web server. Then at the Application Server level, the SOAP request is inspected for a valid WS-security token (UserNameToken) holding the account's login/password.

Figure 2 - 2-factor authentication for the web services

## List with data files exchanged with Market Participants

This is the list with all data files exchanged between the Market Participants and the MMS system

In the following chapters a detailed technical description of the Input Format and the Validation Rules for each Input and Output XML Interface is provided.

# Market Participants Input XML Interfaces

## Non-availability declaration Description

A Declaration submitted by MPs, as described in Section 6 of TSRs, in order to declare decreased available capacity for their units (conventional, RES, portfolio, etc.).

### Interface Format

In the Forward Market, Participants must declare the non-availability of their resources.

The interface will use the CIM Schedule Market Document xsd.

| Schedule_MarketDocument | Attribute Name | Attribute Description |
| --- | --- | --- |
| mRID | mRID | Unique identification of the message for which the time series data is being supplied. |
| revisionNumber | revisionNumber | Version of the message being sent. A message may be sent several times, each transmission being identified by a different version number that starts at 1 and increases sequentially. |
| Type | Message Type | Generation availability schedule (A28) |
| process.processType | Process Type | Long term (A12) |
| process.classificationType | Schedule Classification Type | Exchange (A01) |
| sender_MarketParticipant.mRID | Sender Identification / Coding Scheme | EIC of the participant (the owner of the resource object) |
| sender_MarketParticipant.marketRole.type | Sender Role | Producer (A21) |
| receiver_MarketParticipant.mRID | Receiver Identification / Coding Scheme | TSOC EIC Code |
| receiver_MarketParticipant.marketRole.type | Receiver Role | System Operator (A04) Market Operator (A11) |
| createdDateTime | Message Date and Time | Date and time of transmission of the data. The time must be expressed in UTC as YYYY-MMDDTHH:MM:SSZ. |
| schedule_Time_Period.timeInterval | Message Time Interval | The beginning and ending date and time of the period covered by the message containing the schedule. |
| domain.mRID | Domain | Cyprus Control Area EIC Code |
| subject_MarketParticipant.mRID | Subject Party Identification / Coding Scheme | Not used |
| subject_MarketParticipant. marketRole.type | Subject Party Role | Not used |
| TimeSeries | Time Series | See below |

| Timeseries | Attribute Name | Attribute Description |
| --- | --- | --- |
| mRID | mRID | Unique identifier of the data time series. |
| Version | version | The version number assigned to the time series in question. The time series version shall be the same as the document version number for its initial transmission. Each time a time series is modified the version number is assigned the same value as the schedule document version number used to transmit the modified information. |
| businessType | Business type | Partial unavailability declaration (Z01), Total unavailability declaration (Z02), Unavailability declaration cancellation (Z03) |
| Product | Product | Active power (8716867000016) |
| objectAggregation | Object aggregation | Resource Object (A06) |
| in_Domain.mRID | Area / Coding scheme | Not used |
| out_Domain.mRID | Area / Coding scheme | Not used |
| marketEvaluationPoint.mRID | Market Evaluation Point | Resource Object EIC Code |
| in_MarketParticipant.mRID | Party / Coding scheme | Not used |
| out_MarketParticipant.mRID | Party / Coding scheme | Not used |
| marketAgreement.type | Agreement type | Not used |
| marketAgreement.mRID | Agreement identification | Not used |
| curveType | Curve Type | Variable sized Block (A03) |
| measurement_Unit.name | Measurement unit | MAW |

| Series_Period | Attribute Name | Attribute Description |
| --- | --- | --- |
| timeInterval | Time Interval | This information provides the start and end date and time of the period being reported. |
| resolution | Resolution | 30 min as a step time (PT30M) |
| Point | Point | List of values, see below |

| Point | Attribute Name | Attribute Description |
| --- | --- | --- |
| Position | Position | Only one position of the block is provided for the whole Time Interval |
| Quantity | Quantity | Available capacity (in MW) for Partial unavailability declaration 0 for total unavailability 0 for unavailability cancellation |
| Reason | Reason | See below |

| Reason | Attribute Name | Attribute Description |
| --- | --- | --- |
| code | Reason Code | Failure (B18) Foreseen Maintenance (B19) Shutdown (B20) Complementary Information (A95) Major generation outage (Z01) Operation Inability Declaration (Z02) Intention to Suspend Normal Operation Declaration (Z03) Rejection due to an audit (Z04) Load change at DSO (Z05) Load change at Load representative (Z06) |
| Text | Reason Text | The textual explanation corresponding to the reason code. |

### Validation Rules

The message is rejected if one of the following rules is not respected.

| Rule Name | Rule Description |
| --- | --- |
| SchemaFormatValidationRule | Obligatory fields of the XML must meet the related XSD specification. Moreover, the XML related business validations such as checking against gate opening/closure times, existence of participant, etc. If this verification fails, then the file should be rejected, and a negative acknowledgement shall be sent to the Participant. |
| FutureIntervalRule (30 Minutes) | A time series is not accepted if it creates, modifies or deletes data than are in the past or in the future for less than 30 minutes before the execution time. A time series is not accepted if the interval Start and End time do not end with 00 or 30 minutes |
| ResourceObjectRule | The Resource Object can only be: - A generating Unit, can be virtual but not contracted and not in test - A RES Unit more than 1MW, - A RES Unit portfolio - A RES Subunit - A Combined Cycle Power Plant - A Combined Cycle Configuration The Resource Object Owner is the sender of the message. (Market Evaluation Point matching the Resource Object EIC Code) |
| SendingUserRule | The message is uploaded either by an operator user or by a user linked to the xml message sender |
| MessageIdentificationVersionRule | The previous message received with the same combination (message identification, message type, Sender Identification, Message Time Interval) has lower version In the case the new unavailability declaration is not covering fully the previous one, the previous one is flagged as revoked on the missing intervals (Revoked by the Participant if the file was submitted by the Participant, revoked by the TSO if the file was submitted by an TSOC Operator). |
| SenderRoleRule | Sender Role is Producer (A21) |
| ReceiverIdentificationRule | The Receiver Identification is the Cyprus EIC Code |
| ReceiverRoleRule | Receiver Role is System Operator (A04) or Market Operator (A11) |
| MessageTypeRule | Message Type is Generation availability schedule (A28) |
| ProcessTypeRule | Process Type is long term (A12) |
| ScheduleClassificationTypeRule | Schedule Classification Type is Exchange (A01) |
| DomainCyprusRule | Domain is the Cyprus Control Area EIC Code |
| TimeSeriesVersionRule | If > the message version -> the message is rejected If < the message version -> the time series is ignored |
| TimeSeriesUnicityRule | Time Series Identification is unique in the message. Market Evaluation Point is unique in the message. If combination (Sender Identification, Time Series Identification) already exist in time series repository, it should be linked to the same resource object. No other Unavailability Declaration should exist in time series repository for the same resource object on an intersecting period. |
| BusinessTypeRule | Business Type is either Partial unavailability declaration (Z01) or Total unavailability declaration (Z02) or Unavailability declaration cancellation (Z03). If it is an Unavailability declaration cancellation, an unavailability declaration should exist with the same identification, same resource object and same trading periods and trading day. If the file is uploaded by the market participant, it will be flagged as Revoked by the Participant. If the file is uploaded by a Cyprus Operator, it will be flagged as Revoked by the TSO. |
| ProductRule | Product is active power (8716867000016) |
| ObjectAggregationRule | Object aggregation is A06 (Resource Object) |
| InDomainCyprusRule | In Domain is the Cyprus Control Area EIC Code |
| OutDomainNotUsedRule | Out Domain is Not Used |
| InPartySenderRule | In Party is the message Sender |
| OutPartyNotUsedRule | OutParty is not Used |
| MarketAgreementTypeNotUsedRule | MarketAgreementType is not Used |
| CurveTypeRule | Variable sized Block (A03) is only accepted |
| PositionRule | Only one position (position=1) is provided for the whole Time Interval |
| ReasonCodeRule | Reason Code cannot be empty except for BT=Z03 (Cancellation), and if it is filled, it must according to: Failure (B18) allowed only for BT=Z01 (Partial) and BT=Z02 (Total) Foreseen Maintenance (B19) allowed only for BT=Z01 (Partial) and BT=Z02 (Total) Shutdown (B20) allowed only for BT=Z02 (Total) Complementary Information (A95) allowed only for BT=Z01 (Partial) and BT=Z02 (Total) Major generation outage (Z01) allowed only for BT=Z02 (Total) Operation Inability Declaration (Z02) allowed only for BT=Z02 (Total) Intention to Suspend Normal Operation Declaration (Z03) allowed only for BT=Z01 (Partial) and BT=Z02 (Total) Rejection due to an audit (Z04) allowed only for BT=Z03 (Cancellation) Load change at DSO (Z05) allowed only for BT=Z01 (Partial) and BT=Z02 (Total) Load change at Load representative (Z06) allowed only for BT=Z01 (Partial) and BT=Z02 (Total) |
| ReasonCodeZ03Rule | If the reason code is Z03 (Intention to Suspend Normal Operation Declaration) then the resource object must be flagged as obliged to submit Contingency reserve Offers |
| ReasonTextNotEmptyRule | Should not be empty |
| AvailableQuantityRule | Must not be equal or higher than the Standing data Registered Capacity AND must be higher than or equal to the Standing Data Technical Minimum for Partial Unavailability (Z01) Must be 0 for Total Unavailability (Z02) Must be 0 for Cancellation (Z03) |

## Techno-economic Declaration Description

A Declaration submitted by MPs, as described in Section 8 of TSRs, where technical specifications of their units must be declared to the TSO.

### Interface Format

The interface will use a custom (ENTSO-E like file) participant-techno-economic-declaration xsd.

| Message Header |  |
| --- | --- |
| Message identification | Unique identification of the message for which the time series data is being supplied. |
| Message version | Version of the message being sent. A message may be sent several times, each transmission being identified by a different version number that starts at 1 and increases sequentially. |
| Message type | Techno-economic Declaration (Z01) |
| Sender Identification / Coding Scheme | EIC of the party (the owner of the resource object) |
| Sender Role | Producer (A21) |
| Receiver Identification / Coding Scheme | TSOC EIC Code |
| Receiver Role | System operator (A04) |
| Message Date and Time | Date and time of transmission of the data. The time must be expressed in UTC as YYYY-MMDDTHH:MM:SSZ. |
| Message Time Interval | The beginning and ending date and time matching an EET full day |
| Unit parameters | See below |

| Unit parameters |  |
| --- | --- |
| Unit identification (internal) | Resource Object Identification |
| Time Interval (internal) | Match the Message Time Interval |
| Fuel A cost | €/unit (Only for Thermal Unit) |
| Fuel B cost | €/unit (Only for Thermal Unit) |
| Fuel C cost | €/unit (Only for Thermal Unit) |
| Fuel A LHV | GJ/unit (Only for Thermal Unit) |
| Fuel B LHV | GJ/unit (Only for Thermal Unit) |
| Fuel C LHV | GJ/unit (Only for Thermal Unit) |
| Carbon content A | % |
| Carbon content B | % |
| Carbon content C | % |
| Cold start-up up cost | € (Only for Thermal Unit) |
| Warm start-up cost | € (Only for Thermal Unit) |
| Hot start-up cost | € (Only for Thermal Unit) |
| SpecialCostForCO2 | €/Metric Ton of CO2 |
| Variable Cost blocks | List, 10 elements maximum, see below |

| Variable Cost Block |  |
| --- | --- |
| Net generation level | MW |
| Composition Fuel A | % |
| Composition Fuel B | % |
| Composition Fuel C | % |
| Raw Material Cost | €/MWh |
| Maintenance Material Cost | €/MWh |
| Labour Operation Cost | €/MWh |

### Validation Rules

The message is rejected if one of the following rules is not respected.

| Rule Name | Rule Description |
| --- | --- |
| SchemaFormatValidationRule | Obligatory fields of the XML must meet the related XSD specification. Moreover, the XML related business validations like checking against gate opening/closure times, existence of participant, etc. If this verification fails, then the file should be rejected, and a negative acknowledgement shall be sent to the Participant. |
| MessageTimeIntervalRule | The Message Time Interval is a full EET day |
| ParticipantDeclarationGateOpenRule | The Message Time Interval for trading day D must be received before D-1 16:00. After this deadline, TED is not allowed anymore, and thus all message received after the deadline will be rejected |
| SendingUserRule | The message is uploaded either by an operator user or by a user linked to the xml message sender |
| MessageIdentificationVersionRule | The previous message received with the same combination (message identification, message type, Sender Identification, Message Time Interval, Resource Object Identification) has lower version |
| SenderRoleRule | Sender Role is a Producer (A21) |
| ReceiverIdentificationRule | The Receiver Identification is TSOC EIC Code |
| ReceiverRoleRule | Receiver Role is the System Operator (A04) |
| TimeIntervalRule | The Message Time Interval and the Unit Time Interval are the same |
| ResourceObjectRule | The Resource Object must be: - a Generating, or - a dispatchable RES Unit with downward capability, but not NGP and more than 1MW capacity, or - a dispatchable RES Portfolio with downward capability, but not NGP and more than 1MW capacity, or - a Combined Cycle Configuration. - a dispatchable Load Unit. The Resource Object Owner is the sender of the message or the TSOC. |
| NetGenerationLevelRule | The net generation level must match the Fuel Specific Consumption A/B or C as defined in the Standing data, except the LOADUNIT, the RES Unit and portfolio units |
| MVCCalculationRule | The MVC calculation must be run for all resource objects except the LOADUNIT, the RES Unit and portfolio units |

## DAM Energy Offers and Bids Description

The Orders, either Bids to buy or Offers to sell Energy, that MPs submit in the DAM pool.

### Interface Format

The interface will use the CIM Reserve Bid Document xsd.

Market Participants send the following files to the Day Ahead Market:

- SO - Simple (half-hourly Energy) Offer (for selling energy)

  - can be Non-priced if unit in commissioning or in testing

- BO - Block Offer (for selling energy)

  - can be linked (always priced)

- SB - Simple (half-hourly Energy) Bid (for buying energy)

  - can be Non-priced

| ReserveBid_MarketDocument | Attribute Name | Attribute Description |
| --- | --- | --- |
| mRID | mRID | Unique identification of the message for which the time series data is being supplied. |
| revisionNumber | revisionNumber | Version of the message being sent. A message may be sent several times, each transmission being identified by a different version number that starts at 1 and increases sequentially. |
| Type | Message Type | DAM bid document (Z02) |
| process.processType | Process Type | Day Ahead (A01) |
| sender_MarketParticipant.mRID | Sender Identification / Coding Scheme | EIC of the party (the owner of the resource object) |
| sender_MarketParticipant.marketRole.type | Sender Role | Resource Provider (A27) |
| receiver_MarketParticipant.mRID | Receiver Identification / Coding Scheme | TSOC EIC Code |
| receiver_MarketParticipant.marketRole.type | Receiver Role | Market Operator (A11) |
| createdDateTime | Message Date and Time | Date and time of transmission of the data. The time must be expressed in UTC as YYYY-MMDDTHH:MM:SSZ. |
| reserveBid_Period.timeInterval | Message Time Interval | The beginning and ending date and time of the period covered by the message containing the bid. |
| domain.mRID | Domain | Cyprus Control Area EIC Code |
| subject_MarketParticipant.mRID | Subject Party Identification / Coding Scheme | EIC Code of the Resource Provider |
| subject_MarketParticipant. marketRole.type | Subject Party Role | Resource Provider (A27) |
| BidTimeSeries | Time Series | See below |

| BidTimeSeries | Attribute Name | Attribute Description |
| --- | --- | --- |
| mRID | mRID | A unique identification within the schedule message assigned by the sender. |
| auction.mRID | Auction ID | Not used, but this is a mandatory field. For example, user can set a fixed text such as “DAM auction” |
| businessType | Business type | Simple Offer (Z04) Block Offer (Z05) Simple Bids (Z06) |
| acquiring_Domain.mRID | acquiring_Domain | EIC Code of the Cyprus Control Area |
| connecting_Domain.mRID | connecting_Domain | EIC Code of the Cyprus Control Area |
| provider_MarketParticipant.mRID | Market participant | Not Used |
| quantity_Measure_Unit.name | quantity_Measure_Unit | MWH |
| currency_Unit.name | currency_Unit | EUR |
| price_Measure_Unit.name | energyPrice_Measure_Unit | MWH |
| Divisible | divisible | All bids and offers are divisible (A01) |
| linkedBidsIdentification | linkedBidsIdentification | Only for Block Offer (Z05) – refers to the identification of the parent block |
| multipartBidIdentification | multipartBidIdentification | Not Used |
| exclusiveBidsIdentification | exclusiveBidsIdentification | Not Used |
| blockBid | blockBid | A01 (Yes - only for Block Offer (Z05), not present otherwise) |
| Status | status | Not Used |
| Priority | priority | Is established for Simple Offer (Z04) or Bid (Z06). The Offer Step is indexed from 1 to 10. For Block Offer (Z05), priority is not used |
| registeredResource.mRID | registeredResource | EIC Code of the Resource Object |
| flowDirection.direction | flowDirection | Up for Offer (A01, for Z04 and Z05) or Down for Bid (A02, for Z06) |
| stepIncrementQuantity | stepIncrementQuantity | Not Used |
| energyPrice_Measure_Unit.name | energyPrice_Measure_Unit | MWH |
| marketAgreement.type | marketAgreement.type | Not Used |
| marketAgreement.mRID | marketAgreement.mRID | Not Used |
| marketAgreement.createdDateTime | marketAgreement.createdDateTime | Not Used |
| activation_ConstraintDuration.duration | activation_ConstraintDuration | Not Used |
| resting_ConstraintDuration.duration | resting_ConstraintDuration | Not Used |
| minimum_ConstraintDuration.duration | minimum_ConstraintDuration | Not Used |
| maximum_ConstraintDuration.duration | maximum_ConstraintDuration | Not Used |
| standard_MarketProduct.marketProductType | standard_MarketProduct.marketProductType | Not Used |
| original_MarketProduct.marketProductType | original_MarketProduct.marketProductType | Not Used |
| validity_Period.timeInterval | validity_Period.timeInterval | Not Used |
| Period | Series_Period | See below |
| AvailableMBA_Domain | AvailableMBA_Domain | Not Used |
| Reason | Reason | Not Used |

| Series_Period | Attribute Name | Attribute Description |
| --- | --- | --- |
| timeInterval | Time interval | This information provides the start and end date and time of the period being reported. |
| Resolution | Resolution | 30 min as a step time (PT30M) |
| Point | Point | List of values, see below |

| Point | Attribute Name | Attribute Description |
| --- | --- | --- |
| Position | Position | A sequential value representing the relative position within a given time interval. |
| quantity.quantity | Quantity | Energy Offer and Bid Quantity |
| minimum_Quantity.quantity | Minimum Acceptance Ratio | Not Used for Simple Offer (Z04) and Bid (Z06) For Block Offer (Z05), minimum acceptance value (correspond to MAR: Minimum Acceptance Ratio) |
| price.amount | Price | Not Used |
| energy_Price.amount | Energy Price | Energy Offers and Bids Price, not present for non-price offer or non-price bid |

### Validation Rules

The message is rejected if one of the following rules is not respected, and a textual description justifying the rejection always accompany the generated message.

| Rule Name | Rule Description |
| --- | --- |
| SchemaFormatValidationRule | Obligatory fields of the XML must meet the related XSD specification. Moreover, the XML related business validations like checking against gate opening/closure times, existence of participant, etc. If this verification fails, then the file should be rejected, and a negative acknowledgement shall be sent to the Participant. |
| ReserveBidPeriodIntervalRule | The Reserve Bid Period is a full EET day |
| OrderGateOpenRule | The Message Time Interval match an open Gate. If gate is closed, message is rejected. |
| SendingUserRule | The message is uploaded either by an operator user or by a user linked to the xml message sender |
| SendingParticipantRule | If all the resource objects (identified by the registered Resource EIC Code) included in the message are not in commissioning or in test, then the sender is the owner of all the resource object included in the message. Otherwise, if all the resource objects included in the message are under commissioning or in test, then the sender must be a TSOC operator |
| MessageIdentificationVersionRule | The previous message received with the same combination (message identification, message type, Sender Identification, Message Time Interval) has lower version |
| DivisibleRule | Divisible is A01 (Yes) |
| SenderRoleRule | Sender Role is Resource Provider (A27) |
| ReceiverIdentificationRule | The Receiver Identification is TSOC EIC Code |
| ReceiverRoleRule | Receiver Role is the Market Operator (A11) |
| DomainCyprusRule | Domain is the Cyprus Control Area EIC Code |
| AcquiringDomainCyprusRule | Acquiring Domain is the Cyprus Control Area EIC Code |
| ConnectingDomainCyprusRule | Connecting Domain is the Cyprus Control Area EIC Code |
| PeriodTimeIntervalRule | The Message Time Interval and the Period Time Interval are the same |
| SubjectPartyRoleRule | The sender MarketParticipant mRID must be equal to the subject MarketParticipant mRID and The sender MarketParticipant role must be equal to the subject MarketParticipant role |
| MessageTypeRule | Message Type is DAM bid document (Z02) |
| ResourceObjectRule | For Simple (Z04) or Block Offer (Z05), the Resource Object must be: - a Generating Unit but not contracted or - a RES Unit, but not NGP and more than 1MW capacity, or - a RES Portfolio, or - a Combined Cycle Power Plant. For Block Offer (Z05), the Resource Object must not be in test. For Simple Bid (Z06), the Resource Object must be: - a Load Unit. The Resource Object Owner is the sender of the message or the TSOC operator. |
| priorityRule | The priority is only used for Simple offer (Z04) and Bid (Z06). The priority is an integer between 1 to 10. The integer cannot be repeated and must be with an increment of 1. (e.g. 1,2,2,3 and 1,2,4 are forbidden) For Block Offer (Z05), the priority must not be present. If there is n offers sharing the same combination (Resource Object, Direction) in the message, for each priority between 1 and n, it exists one and only one combination (Resource Object, Direction, Priority) in the message |
| flowDirectionRule | UP for Offers (A01) or DOWN for Bids (A02), it identifies the order direction |
| linkedBidsIdentificationNotUsedRule | linkedBidsIdentification can only be used for Block Offer (Z05) linkedBidsIdentification must refer to an existing bid which belongs to the same resource object (Any link between different units/ROs is prohibited) |
| linkedBidsFamilyRule | The family of linked bloc offer is limited to 3 levels (Father – Son – GrandSon) |
| multipartBidIdentificationNotUsedRule | not Used |
| exclusiveBidsIdentificationNotUsedRule | not Used |
| blockBidNotUsedRule | blockBid is only used for Block Offer (Z05) |
| currency_UnitRule | EUR |
| priceMeasure_UnitRule | MWH |
| EnergyOfferPriceRule | For Simple Offer (BT=Z04), if the resource object is in commissioning or in test, price must be missing. For Simple Bid (BT=Z06), the price could be missing. If Energy offer price is not available for a point, it must be absent for every point of the time serie. In the same way, if it is available for a point, it must be available for every point of the time serie |
| NonNegativePricesRule | The prices must have only positive values |
| EnergyOffersStepwiseCurvesRule | For Simple Offer (BT=Z04), two consecutive points must always have either the same price or the same quantity. That means price-energy steps (€/MWh, MWh) are non-decreasing in price for increased energy generation. |
| EnergyBidsStepwiseCurvesRule | For Simple Bid (BT=Z06), two consecutive points must always have either the same price or the same quantity. That means price-energy steps (€/MWh, MWh) are non-increasing in price for increased energy consumption. |
| EnergyPricesRuleAccuracy | The Energy prices shall be expressed in €/MWh with an accuracy of up to two (2) decimal points. |
| EnergyPricesRuleOfferIncreasing | For Simple Offer (Z04), the Energy prices must be strictly not decreasing between two consecutive points. For Simple Bids (Z06), the Energy prices must be strictly not increasing between two consecutive points. |
| EnergyQuantitiesRule | The Energy quantities must be expressed in MWh with an accuracy of up to three (3) decimal points. Energy quantity must be > 0. |
| EnergyMinimumQuantityRule | For Simple Offer (Z04) and Bid (Z06), the Minimum Acceptance ratio should not be present. For Block Offer (Z05), the the Minimum Acceptance ratio must be present and between 0 and 1. |
| EnergyPricesValueRuleMVC | For Simple Offer (Z04) and Block Offer (Z05), if the owner of the resource is a dominant participant and if the resource is not in test, Energy prices must not be lower than the minimum variable cost. |
| EnergyPricesValueRuleCap | For Simple Offer (Z04) if the resource is not in test, Energy prices must be less than or equal to the standing data Energy Offer Cap price. |
| EnergyPriceMaxQuantityBlockRule | For Block Offer (Z05), the price must be the same for the whole block, as the price is fixed for the whole period, but the max. quantity can be either fixed or differ per trading period |
| EnergyVolumesMultipleOfferDAMMargin | For Simple Offer (Z04) or Block Offer (Z05), and if multiple BidTimeSeries is found submitted in the same time, then the process to check the DAM Margin must follow the following order of activities: 1. Run rule EnergyVolumesStepValueRuleDAMMArgin 2. Run rule EnergyVolumesSimpleBlockValueRuleDAMMArgin 3. Run rule EnergyVolumesLinkedBlockValueRuleDAMMArgin and EnergyVolumesParentLinkedBlockValueRuleDAMMArgin |
| EnergyVolumesStepValueRuleDAMMArgin | For Simple Offer (Z04), if the resource is not in test, the energy volume of the offer plus the total of the volume of all already submitted offers (last step value for type Simple Offer (Z04) and block value for Block Offer (Z05)) for the same resource and the trading period must not be higher than the corresponding DAM Margin of the resource and the trading period. If it is higher, then the Energy volume submitted must be reduced to the DAM Margin, starting by the last step of the simple offer until DAM Margin volume is reached. If it cannot be reached, then the Energy offer is rejected. |
| EnergyVolumesSimpleBlockValueRuleDAMMArgin | For Block Offer (Z05) and if the offer is not a linked offer, the energy volume of the offer plus the total volume of all already submitted offers (last step value for type Simple Offer (Z04) and block value for Block Offer (Z05)) for the same resource and the trading period must not be higher than DAM Margin. If it is higher, then the Energy volume of the submitted block must be reduced to the DAM Margin if the DAM Margin is higher than the minimum offer quantity of the Energy offer. If DAM Margin is lower than the minimum offer quantity of the Energy offer, then the Energy offer is rejected. In case multiple independent blocks are submitted at the same time, the check starts with the block of the smallest volume. In case of equal volumes of blocks, the curtailment starts with the block of the highest price. |
| EnergyVolumesParentLinkedBlockValueRuleDAMMArgin | For Block Offer (Z05) and if linked offers are not for the same trading period, the energy volume of the highest level of the family offer plus the total volume of all already submitted offers (last step value for type Simple Offer (Z04) and block value for Block Offer (Z05)) for the same resource and the trading period must not be higher than DAM Margin. If it is higher, then the Energy volume of the submitted block must be reduced to the DAM Margin if the DAM Margin is higher than the minimum offer quantity of the Energy offer. If DAM Margin is lower than the minimum offer quantity of the Energy offer, then the whole submitted LBO family (the parent and its linked children) containing the parent will be rejected in its entirety. |
| EnergyVolumesChildLinkedBlockValueRuleDAMMArgin | For Block Offer (Z05) and if linked offers are not for the same trading period, the energy volume of the child level of the family offer plus the total volume of all already submitted offers (last step value for type Simple Offer (Z04) and block value for Block Offer (Z05)) for the same resource and the trading period must not be higher than DAM Margin. If it is higher, then the Energy volume of the submitted block must be reduced to the DAM Margin if the DAM Margin is higher than the minimum offer quantity of the Energy offer. If DAM Margin is lower than the minimum offer quantity of the Energy offer, then the child submitted offer is rejected. For Block Offer (Z05) and if linked offers are for the same trading period, the check will start with the lowest level of LBO. The energy volume of the child lowest level of the family offer plus the total volume of all already submitted offers (last step value for type Simple Offer (Z04) and block value for Block Offer (Z05)) for the same resource and the trading period must not be higher than DAM Margin. If it is higher, then the Energy volume of the submitted block must be reduced to the DAM Margin if the DAM Margin is higher than the minimum offer quantity of the Energy offer. If DAM Margin is lower than the minimum offer quantity of the Energy offer, then the child lowest level submitted offer is rejected. Then the check will continue with the second lowest until we reach the highest level of the family. In case multiple lowest level LBOs of the same family are submitted at the same time, the curtailment starts with the block of the smallest volume. In case of equal volumes of blocks, the curtailment starts with the block of the highest price. |
| VerificationAgainstSecurityCoverRule | For Simple Bid (Z06), the daily sum of each half-hourly bid energy value of the highest energy step multiplied by the forecast MCP must not be higher than the security cover on the DAM bank account of participant. |

## Replacement Reserve Quantity Nominations

Participants having awarded Replacement Reserve from the Monthly Auctions must register the corresponding quantities for all Trading Periods of each Trading Day at the Nomination Platform according to the provisions of Annex 5.1 of TSR.

### Interface Format

The interface will use the CIM Schedule Market Document xsd.

| Schedule_MarketDocument | Attribute Name | Attribute Description |
| --- | --- | --- |
| mRID | mRID | Unique identification of the message for which the time series data is being supplied. |
| revisionNumber | revisionNumber | Version of the message being sent. A message may be sent several times, each transmission being identified by a different version number that starts at 1 and increases sequentially. |
| Type | Message Type | Contracted Reserve (A81) |
| process.processType | Process Type | Contracted (A34) |
| process.classificationType | Schedule Classification Type | Exchange (A01) |
| sender_MarketParticipant.mRID | Sender Identification / Coding Scheme | EIC of the party (the owner of the resource object) |
| sender_MarketParticipant.marketRole.type | Sender Role | Producer (A21) |
| receiver_MarketParticipant.mRID | Receiver Identification / Coding Scheme | TSOC EIC Code |
| receiver_MarketParticipant.marketRole.type | Receiver Role | Market Operator (A11) |
| createdDateTime | Message Date and Time | Date and time of transmission of the data. The time must be expressed in UTC as YYYY-MMDDTHH:MM:SSZ. |
| schedule_Time_Period.timeInterval | Message Time Interval | The beginning and ending date and time of the period covered by the message containing the schedule. |
| domain.mRID | Domain | Cyprus Control Area EIC Code |
| subject_MarketParticipant.mRID | Subject Party Identification / Coding Scheme | Not used |
| subject_MarketParticipant. marketRole.type | Subject Party Role | Not used |
| TimeSeries | Time Series | See below |

| Timeseries | Attribute Name | Attribute Description |
| --- | --- | --- |
| mRID | mRID | Unique identifier of the data time series. |
| Version | version | The version number assigned to the time series in question. The time series version shall be the same as the document version number for its initial transmission. Each time a time series is modified the version number is assigned the same value as the schedule document version number used to transmit the modified information. |
| businessType | Business type | Replacement reserve (A98) |
| Product | Product | Active power (8716867000016) |
| objectAggregation | Object aggregation | Resource Object (A06) |
| in_Domain.mRID | Area / Coding scheme | Not Used |
| out_Domain.mRID | Area / Coding scheme | Not Used |
| marketEvaluationPoint.mRID | Market Evaluation Point | Resource Object EIC Code |
| in_MarketParticipant.mRID | Party / Coding scheme | Sender Identification |
| out_MarketParticipant.mRID | Party / Coding scheme | Not Used |
| marketAgreement.type | Agreement type | Long Term (A06) |
| marketAgreement.mRID | Agreement identification | mRID of the auction |
| curveType | Curve Type | Sequential fixed size block (A01) |
| measurement_Unit.name | Measurement unit | MAW |
| Reason | Reason code | Not used |
| Period | Series_Period | See below |
| connectingLine_RegisteredResource.mRID | Registered Resource Identification | Not used |

| Series_Period | Attribute Name | Attribute Description |
| --- | --- | --- |
| timeInterval | Time Interval | This information provides the start and end date and time of the period being reported. |
| resolution | Resolution | 30 min as a step time (PT30M) |
| Point | Point | List of values, see below |

| Point | Attribute Name | Attribute Description |
| --- | --- | --- |
| Position | Position | A sequential value representing the relative position within a given time interval. |
| Quantity | Quantity | Energy quantity, in MW |

### Validation Rules

The message is rejected if one of the following rules is not respected.

| Rule Name | Rule Description |
| --- | --- |
| SchemaFormatValidationRule | Obligatory fields of the XML must meet the related XSD specification. Moreover, the XML related business validations like checking against gate opening/closure times, existence of participant, etc. If this verification fails, then the file should be rejected, and a negative acknowledgement shall be sent to the Participant. |
| MessageTimeIntervalRule | The Message Time Interval is a full EET day |
| ParticipantDeclarationGateOpenRule | The nomination must be received between 5 business days after the final publication of RR auction results for day D and before 09:00 EET (D-1) |
| SendingUserRule | The message is uploaded either by a TSO operator user or by a user linked to the xml message sender |
| MessageIdentificationVersionRule | The previous message received with the same combination (message identification, message type, Sender Identification, Message Time Interval) has lower version |
| SenderRoleRule | Sender Role is Producer (A21) |
| ReceiverIdentificationRule | The Receiver Identification is TSOC EIC Code |
| ReceiverRoleRule | Receiver Role is Market Operator (A11) |
| TimeIntervalRule | The Message Time Interval and the Unit Time Interval are the same |
| ResourceObjectRule | The Resource Object must be RR capable (in standing data, flag Is ProvRR=True). The Resource Object Owner is the sender of the message or the TSOC. |
| MarketAgreementTypeRule | The Market Agreement type must be Long Term (A06) |
| MarketAgreementmRID | The Auction mRID must exist |
| VolumeMatchingWithAwardedRRQuantitiesRule | The capacity volume of the nomination schedule plus the total of the volume of all already submitted schedules for the participant must not be higher than the awarded Replacement Reserve Quantity for that Participant, trading period and for reserve direction. |
| Volume25PercentRule | The capacity volume of the nomination schedule must not be higher for each trading period and direction than the Replacement Reserve requirement multiplied by the Maximum share in RR provision as configured in the standing data (ANS.RR.MAX_SHARE). |
| UpwardReplacementReserveRule | The capacity volume of the nomination schedule for the upward replacement reserve must not be higher than the registered capacity of the unit from standing data minus the Physical Delivery Nomination of that resource. |
| DownwardReplacementReserveRule | The capacity volume of the nomination schedule for the downward replacement reserve must not be higher than the Physical Offtake Nomination minus the minimum generating level from standing data of that resource. |
| VolumeUpAgainstRRCapabilityQuantitiesRule | The capacity volume of the nomination schedule for the upward replacement reserve must not be higher than the maximum Replacement Reserve Capability of generating unit as declared in the standing data |
| VolumeDownAgainstRRCapabilityQuantitiesRule | The capacity volume of the nomination schedule for the downward replacement reserve must not be higher than the maximum Replacement Reserve Capability of generating unit as declared in the standing data |

## Physical Offtake/ Delivery Nominations

The Nominations that the MPs submit within the Forward Market timeline, as described in Section 6 of TSRs, in order to detail their bilateral Contracts.

### Interface Format

Market Participants send the following files to the Forward Market:

- Physical Delivery Nomination - to notify about the planned physical delivery of energy on the time horizon of the Trading Day (done in FM process)

- Physical Offtake Nomination - to notify the Operator about the planned physical offtake of energy on the time horizon of the Trading Day (done in FM process)

- Resource schedule for units in Commissioning or Testing operation (done in DAM process)

- Updates of Resource schedule for Units in Commissioning or Testing operation (done in Balancing Market process)

The interface will use the CIM Schedule Market Document xsd.

| Schedule_MarketDocument | Attribute Name | Attribute Description |
| --- | --- | --- |
| mRID | mRID | Unique identification of the message for which the time series data is being supplied. |
| revisionNumber | revisionNumber | Version of the message being sent. A message may be sent several times, each transmission being identified by a different version number that starts at 1 and increases sequentially. |
| Type | Message Type | Resource Schedule (A14) |
| process.processType | Process Type | Forward Market (Z01) |
| process.classificationType | Schedule Classification Type | Exchange (A01) |
| sender_MarketParticipant.mRID | Sender Identification / Coding Scheme | EIC of the party (the owner of the resource object) |
| sender_MarketParticipant.marketRole.type | Sender Role | Producer (A21) for resource object type generation Consumer (A13) for resource object type load unit |
| receiver_MarketParticipant.mRID | Receiver Identification / Coding Scheme | TSOC EIC Code |
| receiver_MarketParticipant.marketRole.type | Receiver Role | System Operator (A04) Market Operator (A11) |
| createdDateTime | Message Date and Time | Date and time of transmission of the data. The time must be expressed in UTC as YYYY-MMDDTHH:MM:SSZ. |
| schedule_Time_Period.timeInterval | Message Time Interval | The beginning and ending date and time of the period covered by the message containing the schedule. |
| domain.mRID | Domain | Cyprus Control Area EIC Code |
| subject_MarketParticipant.mRID | Subject Party Identification / Coding Scheme | Not used |
| subject_MarketParticipant. marketRole.type | Subject Party Role | Not used |
| TimeSeries | Time Series | See below |

| Timeseries | Attribute Name | Attribute Description |
| --- | --- | --- |
| mRID | mRID | Unique identifier of the data time series. |
| version | version | The version number assigned to the time series in question. The time series version shall be the same as the document version number for its initial transmission. Each time a time series is modified the version number is assigned the same value as the schedule document version number used to transmit the modified information. |
| businessType | Business type | Production (A01) - for resource object type generation Consumption (A04) - for resource object type load unit |
| product | Product | Active power (8716867000016) |
| objectAggregation | Object aggregation | Resource Object (A06) |
| in_Domain.mRID | Area / Coding scheme | Not Used |
| out_Domain.mRID | Area / Coding scheme | Not Used |
| marketEvaluationPoint.mRID | Market Evaluation Point | Resource Object EIC Code |
| in_MarketParticipant.mRID | Party / Coding scheme | Not Used |
| out_MarketParticipant.mRID | Party / Coding scheme | Not Used |
| marketAgreement.type | Agreement type | Not Used |
| marketAgreement.mRID | Agreement identification | Not Used |
| curveType | Curve Type | Sequential fixed size block (A01) |
| measurement_Unit.name | Measurement unit | MWH |
| Reason | Reason code | Not Used |
| Period | Series_Period | See below |
| connectingLine_RegisteredResource.mRID | Registered Resource Identification | Not used |

| Series_Period | Attribute Name | Attribute Description |
| --- | --- | --- |
| timeInterval | Time Interval | This information provides the start and end date and time of the period being reported. |
| resolution | Resolution | 30 min as a step time (PT30M) |
| Point | Point | List of values, see below |

| Point | Attribute Name | Attribute Description |
| --- | --- | --- |
| position | Position | A sequential value representing the relative position within a given time interval. |
| Quantity | Quantity | Energy quantity, in MWH |

### Validation Rules

The message is rejected if one of the following rules is not respected.

| Rule Name | Rule Description |
| --- | --- |
| SchemaFormatValidationRule | Obligatory fields of the XML must meet the related XSD specification. Moreover, the XML related business validations like checking against gate opening/closure times, existence of participant, etc. If this verification fails, then the file should be rejected, and a negative acknowledgement shall be sent to the Participant. |
| MessageTimeIntervalRule | The Message Time Interval is a full EET day |
| ParticipantDeclarationGateOpenRule | If the receiver role is Market Operator, then the nomination must be received before 09h00 EET (D-1) for the Trading Periods of day D and between 9:15-10:00 EET (D-1) for the final submission. If the receiver role is System Operator, the nomination must be received before 11:00 EET (D). Schedule data must not modify data that are in the past. |
| SendingUserRule | The message is uploaded either by an operator user or by a user linked to the xml message sender |
| MessageIdentificationVersionRule | The previous message received with the same combination (message identification, message type, Sender Identification, Message Time Interval) has lower version |
| SenderRoleRule | Sender Role is Producer (A21) for Production Business Type (A01) Sender Role is Consumer (A13) for Consumption Business Type (A04) |
| ReceiverIdentificationRule | The Receiver Identification is TSOC EIC Code |
| ReceiverRoleRule | Receiver Role is System Operator (A04) or Market Operator (A11) |
| TimeIntervalRule | The Message Time Interval and the Unit Time Interval are the same |
| ResourceObjectRule | If the resource is not flagged as in Test, then the Resource Object must be: - For PON: - a Load Unit - For PDN: - a Generating Unit but not contracted or - a Conventional Unit, or - a RES Unit more than 1MW capacity, or - a RES Portfolio, or - a Combined Cycle Power Plant. If the resource is flagged as in Test, then the resource object must not be a Load Unit. The Resource Object Owner is the sender of the message or the TSOC. |
| AvailableCapacityVerificationRule | The submitted energy quantity of a PDN for a Generating Unit or a RES Unit or RES portfolio cannot be higher than the minimum between its Available Capacity minus nominated RR. Available capacity is equal to the unit’s register capacity if a NAD does not exist, otherwise is equal to the available capacity declared through the NAD. |

## Forward Contract Nominations

The Nominations that the MPs submit within the Forward Market timeline, as described in Section 6 of TSRs, in order to declare a bilateral Contract.

### Interface Format

The interface will use the CIM Schedule Market Document xsd.

Market Participants submit FCNs to notify the Market Operator about the planned trading activity on the time horizon of the Trading Day.

| Schedule_MarketDocument | Attribute Name | Attribute Description |
| --- | --- | --- |
| mRID | mRID | Unique identification of the message for which the time series data is being supplied. |
| revisionNumber | revisionNumber | Version of the message being sent. A message may be sent several times, each transmission being identified by a different version number that starts at 1 and increases sequentially. |
| Type | Message Type | Forward Contract Nomination (Z03) |
| process.processType | Process Type | Forward Market (Z01) |
| process.classificationType | Schedule Classification Type | Exchange (A01) |
| sender_MarketParticipant.mRID | Sender Identification / Coding Scheme | EIC of the BRP that sent the message. |
| sender_MarketParticipant.marketRole.type | Sender Role | Balance responsible party (A08) |
| receiver_MarketParticipant.mRID | Receiver Identification / Coding Scheme | TSOC EIC Code |
| receiver_MarketParticipant.marketRole.type | Receiver Role | Market Operator (A11) |
| createdDateTime | Message Date and Time | Date and time of transmission of the data. The time must be expressed in UTC as YYYY-MMDDTHH:MM:SSZ. |
| schedule_Time_Period.timeInterval | Message Time Interval | The beginning and ending date and time of the period covered by the message containing the schedule. |
| domain.mRID | Domain | Cyprus Control Area EIC Code |
| TimeSeries | Time Series | See below |

| Timeseries | Attribute Name | Attribute Description |
| --- | --- | --- |
| mRID | mRID | Unique identifier of the data time series. |
| version | version | The version number assigned to the time series in question. The time series version shall be the same as the document version number for its initial transmission. Each time a time series is modified the version number is assigned the same value as the schedule document version number used to transmit the modified information. |
| businessType | Business type | Internal inter area trade (A30) |
| product | Product | Active power (8716867000016) |
| objectAggregation | Object aggregation | Party (A03) |
| in_Domain.mRID | Area / Coding scheme | Not used |
| out_Domain.mRID | Area / Coding scheme | Not used |
| marketEvaluationPoint.mRID | Market Evaluation Point | Not used |
| in_MarketParticipant.mRID | Party / Coding scheme | EIC code of the Party putting the product into the in Domain |
| out_MarketParticipant.mRID | Party / Coding scheme | EIC code of the Party taking the product out of the out domain |
| marketAgreement.type | Agreement type | Not used |
| marketAgreement.mRID | Agreement identification | Bilateral Contract identification |
| curveType | Curve Type | Sequential fixed size block (A01) |
| measurement_Unit.name | Measurement unit | MWH |
| Reason | Reason code | Not used |
| Period | Series_Period | See below |
| connectingLine_RegisteredResource.mRID | Registered Resource Identification | Not used |

| Series_Period | Attribute Name | Attribute Description |
| --- | --- | --- |
| timeInterval | Time Interval | This information provides the start and end date and time of the period being reported. |
| resolution | Resolution | 30 min as a step time (PT30M) |
| Point | Point | List of values, see below |

| Point | Attribute Name | Attribute Description |
| --- | --- | --- |
| position | Position | A sequential value representing the relative position within a given time interval. |
| Quantity | Quantity | Energy quantity, in MWH |

### Validation Rules

The message is rejected if one of the following rules is not respected.

| Rule Name | Rule Description |
| --- | --- |
| SchemaFormatValidationRule | Obligatory fields of the XML must meet the related XSD specification. Moreover, the XML related business validations like checking against gate opening/closure times, existence of participant, etc. If this verification fails, then the file should be rejected, and a negative acknowledgement shall be sent to the Participant. |
| MessageTimeIntervalRule | The Message Time Interval is a full EET day |
| ParticipantDeclarationGateOpenRule | The nomination must be received before 09h00 EET (D-1) for the Trading Periods of day D. |
| SendingUserRule | The message is uploaded either by an operator user or by a user linked to the xml message sender |
| MessageIdentificationVersionRule | The previous message received with the same combination (message identification, message type, Sender Identification, Message Time Interval, inParty, outParty) has lower version |
| SenderRoleRule | Sender Role is Balance responsible party (A08) |
| ReceiverIdentificationRule | The Receiver Identification is TSOC EIC Code |
| ReceiverRoleRule | Receiver Role is Market Operator (A11) |
| InOutPartyRule | The sender must be either the inParty, either the outParty. The inParty and the outParty must be different |
| TimeIntervalRule | The Message Time Interval and the Unit Time Interval are the same |
| FCNStatusVerificationRule | FCN Status is “TS CP Missing” if the counter party schedule is not available FCN Status is “TS Mismatch” if the counter party schedule is not matching FCN Status is “TS Match” if the counter party schedule is matching |
| FCNVerificationAgainstNDP | The NDP of the participant who has the role Wholesale Supplier must not be positive. If NDP become positive (more FCN production than consumption) for at least one trading period, then each trading period quantity are curtailed up to the Energy quantities for which the NDP remains non-positive |
| FCNQuantityRule | The FCN quantity must be positive only |
| FCNMarketAggrementMRID | The marketAgreement.mRID which represent the Bilateral Contract identification cannot be empty. Any characters as text is accepted |
| CurveTypeRule | Sequential fixed size block (A01) is only accepted |

## Bids for RR, BS and CR

Offers submitted by Participants to Monthly (for RR) or Yearly (for BS and CR) Auctions for the provision of Replacement Reserve, Black Start service and Contingency Reserve.

### Interface Format

The interface will use the CIM Reserve Bid Document xsd.

Market participants submit bids in order to offer reserve capability/ancillary services. Bids typically defined by a price, a direction (e.g. Up or Down) and a range of MW for each trading period, but this can vary according to the product specification.

Bids types are:

- Replacement Reserve (RR);

- Black Start (BS);

- Contingency Reserve (CR);

| ReserveBid_MarketDocument | Attribute Name | Attribute Description |
| --- | --- | --- |
| mRID | mRID | Unique identification of the message for which the time series data is being supplied. |
| revisionNumber | revisionNumber | Version of the message being sent. A message may be sent several times, each transmission being identified by a different version number that starts at 1 and increases sequentially. |
| type | Message Type | Bid document (A24) |
| process.processType | Process Type | Long Term (A12) |
| sender_MarketParticipant.mRID | Sender Identification / Coding Scheme | EIC of the Resource Provider that sent the message. |
| sender_MarketParticipant.marketRole.type | Sender Role | Resource Provider (A27) |
| receiver_MarketParticipant.mRID | Receiver Identification / Coding Scheme | TSOC EIC Code |
| receiver_MarketParticipant.marketRole.type | Receiver Role | System operator (A04) |
| createdDateTime | Message Date and Time | Date and time of transmission of the data. The time must be expressed in UTC as YYYY-MMDDTHH:MM:SSZ. |
| reserveBid_Period.timeInterval | Message Time Interval | The beginning and ending date and time of the period covered by the message containing the schedule. |
| domain.mRID | Domain | Cyprus Control Area EIC Code |
| subject_MarketParticipant.mRID | Subject Party Identification / Coding Scheme | EIC Code of the Resource Provider |
| subject_MarketParticipant. marketRole.type | Subject Party Role | Resource Provider (A27) |
| BidTimeSeries | Time Series | See below |

| BidTimeSeries | Attribute Name | Attribute Description |
| --- | --- | --- |
| mRID | mRID | A unique identification within the schedule message assigned by the sender. |
| auction.mRID | Auction | Auction identification (mRID) as provided in the auction specification |
| businessType | Business type | RR (Replacement Reserve) (A98) CR (Contingency Reserve) (B55) BS (Black Start) (Z07) |
| acquiring_Domain.mRID | acquiring_Domain | EIC Code of the Cyprus Control Area |
| connecting_Domain.mRID | connecting_Domain | EIC Code of the Cyprus Control Area |
| provider_MarketParticipant.mRID | Market participant | Not Used |
| quantity_Measure_Unit.name | quantity_Measure_Unit | MAW for RR and CR C62 (dimensionless quantity) for BS |
| currency_Unit.name | currency_Unit | EUR |
| price_Measure_Unit.name | energyPrice_Measure_Unit | MAW for RR and CR C62 (dimensionless quantity) for BS |
| divisible | divisible | Yes (A01) for RR and CR No (A02) for BS |
| linkedBidsIdentification | linkedBidsIdentification | Not Used |
| multipartBidIdentification | multipartBidIdentification | Not Used |
| exclusiveBidsIdentification | exclusiveBidsIdentification | Not Used |
| blockBid | blockBid | Not Used |
| status | status | Not Used |
| priority | priority | Offer Block Index from 1 to 10 for RR Priority = 1 only for CR and BS |
| registeredResource.mRID | registeredResource | For RR: Not used For CR and BS: EIC Code of the Resource Object |
| flowDirection.direction | flowDirection | For RR: UP (A01) or DOWN (A02) For CR and BS: UP (A01) |
| stepIncrementQuantity | stepIncrementQuantity | Not used |
| energyPrice_Measure_Unit.name | energyPrice_Measure_Unit | MAW for RR and CR C62 (dimensionless quantity) for BS |
| marketAgreement.type | marketAgreement.type | Not used |
| marketAgreement.mRID | marketAgreement.mRID | Not used |
| marketAgreement.createdDateTime | marketAgreement.createdDateTime | Not used |
| activation_ConstraintDuration.duration | activation_ConstraintDuration | Not used |
| resting_ConstraintDuration.duration | resting_ConstraintDuration | Not used |
| minimum_ConstraintDuration.duration | minimum_ConstraintDuration | Not used |
| maximum_ConstraintDuration.duration | maximum_ConstraintDuration | Not used |
| Period | Series_Period | See below |
| AvailableMBA_Domain | AvailableMBA_Domain | Not used |
| Reason | Reason | Not used |

| Series_Period | Attribute Name | Attribute Description |
| --- | --- | --- |
| timeInterval | Time interval | This information provides the start and end date and time of the period being reported. |
| resolution | Resolution | 30 min as a step time (PT30M) |
| Point | Point | List of values, see below |

| Point | Attribute Name | Attribute Description |
| --- | --- | --- |
| position | Position | A sequential value representing the relative position within a given time interval. |
| quantity.quantity | Quantity | Offer / Bid Quantity for RR Quantity = 0 for BS and CR |
| minimum_Quantity.quantity | Minimum Quantity | Not used |
| price.amount | Price | Price of the offer / bid |
| energy_Price.amount | Energy Price | Not used |

### Validation Rules

The message is rejected if one of the following rules is not respected.

| Rule Name | Rule Description |
| --- | --- |
| SchemaFormatValidationRule | Obligatory fields of the XML must meet the related XSD specification. Moreover, the XML related business validations like checking against gate opening/closure times, existence of participant, etc. If this verification fails, then the file should be rejected, and a negative acknowledgement shall be sent to the Participant. |
| MessageTimeIntervalRule | The Message Time Interval is a full EET day |
| ParticipantDeclarationGateOpenRule | The Message Time Interval match an open Participant submission Gate (RR Bid Submission for RR bid; CR Bid Submission for CR bid; BS Bid Submission for BS bid). |
| MessageTypeRule | Message Type is Bid document (A24) |
| SendingUserRule | The message is uploaded either by an operator user or by a user linked to the xml message sender |
| MessageIdentificationVersionRule | The previous message received with the same combination (message identification, message type, Sender Identification, Message Time Interval) has lower version |
| SenderRoleRule | Sender Role is Resource Provider (A27). The Market Party for RR bids should have at least on these roles: RES producer, RES aggregator, Producer, Load Representative |
| ReceiverIdentificationRule | The Receiver Identification is TSOC EIC Code |
| ReceiverRoleRule | Receiver Role is System operator (A04) |
| TimeIntervalRule | The Message Time Interval and the Unit Time Interval are the same |
| SubjectPartyRoleRule | The sender MarketParticipant mRID must be equal to the subject MarketParticipant mRID and The sender MarketParticipant role must be equal to the subject MarketParticipant role |
| AuctionMRIDRule | The auction MRID must be valid in the MMS |
| BusinessTypeRule | Business Type can be: RR (Replacement Reserve) (A98) CR (Contingency Reserve (B55) BS (Black Start) (Z07) |
| priorityRule | For RR Bid (A98), the priority is an integer - starting by 1 - between 1 and 10 - should be defined as an increasing order by a step of 1 - If there is n offers sharing the same combination (Resource Object, Direction) in the message, for each priority between 1 and n, it exists one and only one combination (Resource Object, Direction, Priority) in the message (e.g. 1,3,4,5,6,7,8,9,10 is not allowed, 1,2,2,3 is not allowed, but 5,4,1,2,3 is allowed) For CR Bid (B55) and BS Bid (Z07), only one priority equal to 1 is allowed. |
| flowDirectionRule | For RR Bid (A98), flowDirection is UP (A01) or DOWN (A02), it identifies the offer direction CR Bid (B55) and BS Bid (Z07), flowDirection is UP (A01) only |
| ResourceObjectRule | For RR Bid (A98), the Resource Object must be empty For BS Bid (Z07), the Resource Object must be: - a Generating Unit with Black Start capability with registered capacity greater than the Minimum required Pmax. For CR Bid (B55), the Resource Object must be: - a Generating Unit with Contingency Reserve capability. The Resource Object Owner is the sender of the message or the TSOC. |
| DefaultingPartyRule | The resource object owner must not be a defaulting party |
| linkedBidsIdentificationNotUsedRule | not Used |
| multipartBidIdentificationNotUsedRule | not Used |
| exclusiveBidsIdentificationNotUsedRule | not Used |
| DivisibleRule | Divisible is Yes (A01) for RR Bid (A98) and for CR Bid (B55). Divisible is No (A02) for BS Bid (Z07) |
| blockBidNotUsedRule | not Used |
| currency_UnitRule | EUR |
| VerificationAgainstRREnergyEfferCapRule | For Replacement Reserve (A98), Offer Prices must not be higher than the Administratively Defined Replacement Reserve Offer Cap. |
| RRBidsPricesRuleIncreasing | For RR Bid (A98), the Bids prices must be strictly not decreasing between two consecutive points. |
| CapacityVolumeRule | For Replacement Reserve bid (A98), the capacity volume of the RR bid must not be higher than the following condition: Offered Capacity volume <= minimum value between: - RR auction requirement - SUM of all dispatchable units not contracted, not virtual and not in Test and with subtype in {LOADUNIT, RESUNIT, RESPORTFOLIO, GENUNIT, COMCYCPOP} that belong to the participant of minimum value between: - Maximum Replacement Reserve Capability of unit u as found in the Standing data - Result of multiplication between: - RR auction requirement - Maximum % Share in RR Provision as found in standing data - general configuration For Contingency (B55), and Black Start (Z07), quantity must be equal to 0. |
| VerificationAgainstBSEnergyEfferCapRule | For Black Start (Z07), Offer Prices must not be higher than the Administratively Defined Black Start Offer Cap. |
| VerificationAgainstCREnergyEfferCapRule | For Contingency (B55), Offer Prices must not be higher than the Administratively Defined Contingency Reserve Offer Cap. |

## Balancing Energy Offers

An Offer to either increment or decrement injection (or as the case may be to decrement or increment Offtake, respectively) pursuant to Section 8 of TSR.

### Interface Format

The interface will use the CIM Reserve Bid Document xsd.

Balancing Energy Offers are submitted by Participants separately for each Balancing Service Provider (BSP) they operate, which has the technical capability to change its Market Schedule. A Balancing Energy Offer refers to an upward or downward deviation from the Market Schedule.

| ReserveBid_MarketDocument | Attribute Name | Attribute Description |
| --- | --- | --- |
| mRID | mRID | Unique identification of the message for which the time series data is being supplied. |
| revisionNumber | revisionNumber | Version of the message being sent. A message may be sent several times, each transmission being identified by a different version number that starts at 1 and increases sequentially. |
| type | Message Type | Reserve tender document (A37) |
| process.processType | Process Type | Energy Offer, Redispatch Process (A41) |
| sender_MarketParticipant.mRID | Sender Identification / Coding Scheme | EIC of the Resource Provider that sent the message or TSOC. |
| sender_MarketParticipant.marketRole.type | Sender Role | Resource Provider (A27) |
| receiver_MarketParticipant.mRID | Receiver Identification / Coding Scheme | TSOC EIC Code |
| receiver_MarketParticipant.marketRole.type | Receiver Role | System operator (A04) |
| createdDateTime | Message Date and Time | Date and time of transmission of the data. The time must be expressed in UTC as YYYY-MMDDTHH:MM:SSZ. |
| reserveBid_Period.timeInterval | Message Time Interval | The beginning and ending date and time of the period covered by the message containing the schedule. |
| domain.mRID | Domain | Cyprus Control Area EIC Code |
| subject_MarketParticipant.mRID | Subject Party Identification / Coding Scheme | EIC Code of the Resource Provider |
| subject_MarketParticipant. marketRole.type | Subject Party Role | Resource Provider (A27) |
| BidTimeSeries | Time Series | See below |

| BidTimeSeries | Attribute Name | Attribute Description |
| --- | --- | --- |
| mRID | mRID | A unique identification within the schedule message assigned by the sender. |
| auction.mRID | Auction | Not used, but this is a mandatory field. For example, user can set a fixed text such as “ISP BEO auction” |
| businessType | Business type | Control area balance energy (A86) |
| acquiring_Domain.mRID | acquiring_Domain | EIC Code of the Cyprus Control Area |
| connecting_Domain.mRID | connecting_Domain | EIC Code of the Cyprus Control Area |
| provider_MarketParticipant.mRID | Market participant | Not Used |
| quantity_Measure_Unit.name | quantity_Measure_Unit | MWH |
| currency_Unit.name | currency_Unit | EUR |
| price_Measure_Unit.name | energyPrice_Measure_Unit | MWH |
| divisible | divisible | Yes (A01) |
| linkedBidsIdentification | linkedBidsIdentification | Not Used |
| multipartBidIdentification | multipartBidIdentification | Not Used |
| exclusiveBidsIdentification | exclusiveBidsIdentification | Not Used |
| blockBid | blockBid | Not Used |
| status | status | Not Used |
| priority | priority | Offer Block Index from 1 to 10 |
| registeredResource.mRID | registeredResource | EIC Code of the Resource Object |
| flowDirection.direction | flowDirection | UP (A01) or DOWN (A02) |
| stepIncrementQuantity | stepIncrementQuantity | Not used |
| energyPrice_Measure_Unit.name | energyPrice_Measure_Unit | MWH |
| marketAgreement.type | marketAgreement.type | Not Used |
| marketAgreement.mRID | marketAgreement.mRID | Not Used |
| marketAgreement.createdDateTime | marketAgreement.createdDateTime | Not Used |
| activation_ConstraintDuration.duration | activation_ConstraintDuration | Not Used |
| resting_ConstraintDuration.duration | resting_ConstraintDuration | Not Used |
| minimum_ConstraintDuration.duration | minimum_ConstraintDuration | Not Used |
| maximum_ConstraintDuration.duration | maximum_ConstraintDuration | Not Used |
| Period | Series_Period | See below |
| AvailableMBA_Domain | AvailableMBA_Domain | Not Used |
| Reason | Reason | Not Used |

| Series_Period | Attribute Name | Attribute Description |
| --- | --- | --- |
| timeInterval | Time interval | This information provides the start and end date and time of the period being reported. |
| resolution | Resolution | 30 min as a step time (PT30M) |
| Point | Point | List of values, see below |

| Point | Attribute Name | Attribute Description |
| --- | --- | --- |
| position | Position | A sequential value representing the relative position within a given time interval. |
| quantity.quantity | Quantity | Offer Quantity |
| minimum_Quantity.quantity | Minimum Quantity | Not used |
| price.amount | Price | Not used |
| energy_Price.amount | Energy Price | Energy Price of the offer |

### Validation Rules

The message is rejected if one of the following rules is not respected.

| Rule Name | Rule Description |
| --- | --- |
| EnergyBidPeriodIntervalRule | The Energy Bid Period is a full EET day |
| EnergyOfferGateOpenRule | The Message Time Interval match an open Participant Declaration Gate (Submission of Balancing Offers) |
| SendingUserRule | The message is uploaded either by an operator user or by a user linked to the xml message sender |
| MessageIdentificationVersionRule | The previous message received with the same combination (message identification, message type, Sender Identification, Message Time Interval) has lower version |
| ResourceObjectRule | The Resource Object can only be: - A generating Unit, can be virtual but not contracted and not in test - A dispatchable load Unit - A dispatchable RES Unit more than 1MW, but not NGP, not Meter profiled, and not in test - A RES Unit with downward capability - A RES portfolio with downward capability - A dispatchable RES Unit portfolio - A Combined Cycle Configuration The Resource Object Owner is the sender of the message. (Market Evaluation Point matching the Resource Object EIC Code) or TSOC |
| DefaultingPartyRule | The resource object owner must not be a defaulting party |
| SenderRoleRule | Sender Role is Resource Provider (A27) |
| ReceiverIdentificationRule | The Receiver Identification is the TSOC EIC Code |
| ReceiverRoleRule | Receiver Role is System Operator (A04) |
| PeriodTimeIntervalRule | The Message Time Interval and the Period Time Interval are the same |
| SubjectPartyRoleRule | The sender MarketParticipant mRID must be equal to the subject MarketParticipant mRID and The sender MarketParticipant role must be equal to the subject MarketParticipant role |
| MessageTypeRule | Message Type is Reserve tender document (A37) |
| ProcessTypeRule | Process Type is Redispatch Process (A41) and it defines the offer type Energy Offer |
| DomainCyprusRule | Domain is the Cyprus Control Area EIC Code |
| BusinessTypeRule | Business Type “Control area balance energy" (A86) should match the offer type defined by the process type Control area balance energy (Energy Offer). |
| DivisibleRule | Divisible is Yes (A01) |
| linkedBidsIdentificationNotUsedRule | not Used |
| multipartBidIdentificationNotUsedRule | not Used |
| exclusiveBidsIdentificationNotUsedRule | not Used |
| blockBidNotUsedRule | blockBid is not Used |
| statusNotUsedRule | status is not Used |
| priorityRule | The priority is an integer between 1 and 10 If there are n offers sharing the same combination (Resource Object, Direction) in the message, for each priority between 1 and n, it exists one and only one combination (Resource Object, Direction, Priority) in the message |
| stepIncrementQuantityNotUsedRule | not Used |
| energyPrice_Measure_UnitRule | is MWH |
| connecting_DomainRule | Connected Domain is EIC Code of the Cyprus Control Area |
| price_Measure_UnitRule | MWH |
| minimum_ConstraintDurationNotUsedRule | not Used |
| currency_UnitRule | EUR |
| marketAgreementNotUsedRule | Not Used |
| acquiring_DomainRule | acquiring_Domain is the EIC Code of the Cyprus Control Area |
| flowDirectionRule | flowDirection is UP (A01) or DOWN (A02) and it identifies the offer direction. If DOWN (A02), resource must be downward capable in the standing data |
| AscendingPriceOfferUpRule | For Balancing Energy offer in Up direction, for each Position, in offers sharing the same combination (Resource Object, Direction) the price is ascending with the priority |
| DescendingPriceOfferDownRule | For Balancing energy offer in Down direction, for each Position, in offers sharing the same combination (Resource Object, Direction) the price is descending when the priority is ascending. |
| BalancingEnergyPricesRuleAccuracy | The Energy prices shall be expressed in €/MWh with an accuracy of up to two (2) decimal points. |
| BalancingEnergyQuantitiesRule | The Energy quantities must be expressed in MWh with an accuracy of up to three (3) decimal points. |
| BalancingEnergyUPPricesLimitRule | For BEO in UP direction and for resource type Generating Unit and Combined Cycle Power Plant, the Energy prices must be less than or equal to the Balancing Energy offer price cap (found in Standing Data) and greater than or equal to the maximum value between Minimum Variable Cost (found in TED if any) and Balancing Energy offer price lower limit (found in Standing Data). For BEO in UP direction and for resource type RES Unit and RES Portfolio, the Energy prices for each step of the stepwise Balancing Energy Offer must be greater than or equal to the Balancing Energy Offer Lower Limit (found in Standing Data) and less than or equal to the Balancing Energy Offer price cap (found in Standing Data). For BEO in UP direction and for resource type Load, the Energy prices must be greater than or equal to the Balancing Energy offer price lower limit (found in Standing Data) and less than or equal to the Balancing Energy offer price cap (found in Standing Data). |
| BalancingEnergyDOWNPricesLimitRule | For BEO in DOWN direction and for resource type Generating Unit and Combined Cycle Configuration, if the MVC (Minimum Variable Cost) for the resource object exist, then the Energy prices for each step of the stepwise Balancing Energy Offer in down direction must be greater than or equal to the BEOLL (Balancing Energy offer price lower limit - found in Standing Data, factor BM.BEO_MIN_UP in general configuration) and less than or equal to the MVC (found in TED schedule). If MVC is not available, then the BEO in DOWN direction and for resource type Generating Unit and Combined Cycle Configuration must be greater than or equal to BEOLL (Balancing Energy offer price lower limit - found in Standing Data, factor BM.BEO_MIN_UP in general configuration) and less than or equal to the to the Administratively Defined Balancing Energy Offer Cap (found in Standing Data, factor BM.BEO_CAP_UP in the general configuration). For BEO in DOWN direction and for resource type RES Unit and RES Portfolio, the Energy prices for each step of the stepwise Balancing Energy Offer must be greater than or equal to the BEOLL (Balancing Energy offer price lower limit - found in Standing Data, factor BM.BEO_MIN_UP in general configuration) and less than or equal to the to the Administratively Defined Balancing Energy Offer Cap (found in Standing Data, factor BM.BEO_CAP_UP in the general configuration). For BEO in DOWN direction and for resource type Load, the Energy prices for each step of the stepwise Balancing Energy Offer must be greater than or equal to the BEOLL (Balancing Energy offer price lower limit - found in Standing Data, factor BM.BEO_MIN_UP in general configuration) and less than or equal to the to the Administratively Defined Balancing Energy Offer Cap (found in Standing Data, factor BM.BEO_CAP_UP in the general configuration). |
| quantityProducerUPVerificationRule | If resource object is a generating unit and if the Available capacity is higher than or equal to the Market Schedule, then the sum of all offer quantities in UP direction must be equal to the positive difference between the resource available capacity and the Market Schedule, otherwise if the difference is negative, it must be 0. If resource object is a generating unit and if the Available capacity is smaller than the Market Schedule, then the sum of all offer quantities in UP direction must be equal to 0. The resource available capacity is the value stored in the time series Generation Availability for the resource object. |
| quantityProducerDNVerificationRule | If resource object is a generating unit and if the Available capacity (of the plant in case of CCGT) is higher than the Market Schedule, then the sum of all offer quantities in DOWN direction must be equal to the Market Schedule. If resource object is a generating unit and if the Available capacity (of the plant in case of CCGT) is smaller than the Market Schedule, then the sum of all offer quantities in DOWN direction must be equal to the value of the Available capacity - for units of non-CCGT plants - at plant level of CCGT plants (and not at configuration level). The resource available capacity is the value stored in the time series Generation Availability for the resource object. Available Capacity of the CCGT plant is defined as the maximum of the Available Capacities of the configurations. The Market Schedule (MS) of the CCGT plant is defined at plant level. |
| quantityRESProducerUPVerificationRule | If resource object is a RES Unit or RES Portfolio, and if no mFRR offer UP nor RR nomination UP was received, then the sum of all offer quantities in UP direction must be less or equal to the minimum between the difference between the resource available capacity and the Market Schedule, and the registered capacity (REGCAP) as found in the Standing Data. If resource object is a RES Unit or RES Portfolio, and if mFRR offer UP was received but no RR nomination UP was received, then the sum of all offer quantities in UP direction must not be lower than the mFRR offer UP. If resource object is a RES Unit or RES Portfolio, and if RR nomination UP was received but no mFRR offer UP was received, then the sum of all offer quantities in UP direction must not be lower than the RR nomination UP . If resource object is a RES Unit or RES Portfolio, and if both mFRR offer and RR nomination were received, then the sum of all offer quantities in UP direction must not be lower than the sum of the mFRR offer UP plus the RR nomination UP. |
| quantityRESProducerDNVerificationRule | If resource object is a RES Unit or RES Portfolio, then the sum of all offer quantities in DOWN direction be equal to the Market Schedule. |
| quantityLoadRepresUPVerificationRule | If resource object is a Load Unit, and if no mFRR UP nor RR nomination Up was received, and if the Technical minimum of the resource as declared in the SD is higher or equal than the Market Schedule, then the sum of all offer quantities in UP direction must be equal to the Market Schedule. If resource object is a Load Unit, and if no mFRR UP nor RR nomination UP was received, and if the Technical minimum of the resource as declared in the SD is lower than the Market Schedule, then the sum of all offer quantities in UP direction must be equal to the Technical minimum. If resource object is a Load Unit, and if a mFRR offer UP was received but no RR nomination UP, then the sum of all offer quantities in UP direction must be between the mFRR offer UP quantity and the Technical minimum. If resource object is a Load Unit, and if a RR nomination UP was received but no mFRR offer UP, then the sum of all offer quantities in UP direction must be between the RR nomination UP and the Technical minimum. |
| quantityLoadRepresDNVerificationRule | If resource object is a Load Unit, and if no mFRR offer DN nor RR nomination DN was received, and if the Technical minimum of the resource as declared in the SD is higher than the Market Schedule, then the sum of all offer quantities in DN direction must be equal to the difference between the Market Schedule and Technical minimum. If resource object is a Load Unit, and if no mFRR offer DN nor RR nomination DN was received, and if the Technical minimum of the resource as declared in the SD is lower than the Market Schedule, then the sum of all offer quantities in DN direction be equal to 0. If resource object is a Load Unit, and if a mFRR offer DN was received but no RR nomination DN, then the sum of all offer quantities in DN direction must be between the mFRR offer quantity and the Technical minimum. If resource object is a Load Unit, and if a RR nomination DN was received but no mFRR offer DN, then the sum of all offer quantities in DN direction must be between the RR nomination DN and the Technical minimum. |
| TechMinRule | If resource object is a Generating Unit, for direction Up, if the Technical Minimum is higher than the Market Schedule, then the sum of the Quantity of the priority 1 offers step and the Market Schedule must be equal to the Technical Minimum AND the offer must have at least 2 priorities If resource object is a Generating Unit, for direction Down, if Market Schedule is higher than or equal to the Technical Minimum, then the Quantity of the highest priority offer step in down direction must be equal to the Technical Minimum AND the offer must have at least 2 priorities If resource object is a Generating Unit, for direction Down, if Technical Minimum is higher than the Market Schedule, then the offer must have precisely 1 priority and the quantity of this step must be equal to the Market Schedule |

## Balancing Reserve Capacity Offers

An offer for upward or downward FCR, aFRR or mFRR, submitted by the Participants in the Integrated Scheduling Process.

### Interface Format

The interface will use the CIM Reserve Bid Document xsd.

Participants operating Balance Responsible Parties can submit Reserve Capacity Offers of the following type:

- Upward and downward Frequency Containment Reserve (FCR);

- Upward and downward automatic Frequency Restoration Reserve (aFRR);

- Upward and downward manual Frequency Restoration Reserve (mFRR); and

| ReserveBid_MarketDocument | Attribute Name | Attribute Description |
| --- | --- | --- |
| mRID | mRID | Unique identification of the message for which the time series data is being supplied. |
| revisionNumber | revisionNumber | Version of the message being sent. A message may be sent several times, each transmission being identified by a different version number that starts at 1 and increases sequentially. |
| type | Message Type | Proposed capacity (A32) |
| process.processType | Process Type | Manual frequency restoration reserve (A47) = mFRR Capacity Offer Automatic frequency restoration reserve (A51) = aFRR Capacity Offer Frequency containment reserve (A52) = FCR Capacity Offer |
| sender_MarketParticipant.mRID | Sender Identification / Coding Scheme | EIC of the Resource Provider that sent the message or TSOC. |
| sender_MarketParticipant.marketRole.type | Sender Role | Resource Provider (A27) |
| receiver_MarketParticipant.mRID | Receiver Identification / Coding Scheme | TSOC EIC Code |
| receiver_MarketParticipant.marketRole.type | Receiver Role | System operator (A04) |
| createdDateTime | Message Date and Time | Date and time of transmission of the data. The time must be expressed in UTC as YYYY-MMDDTHH:MM:SSZ. |
| reserveBid_Period.timeInterval | Message Time Interval | The beginning and ending date and time of the period covered by the message containing the schedule. |
| domain.mRID | Domain | Cyprus Control Area EIC Code |
| subject_MarketParticipant.mRID | Subject Party Identification / Coding Scheme | EIC Code of the Resource Provider |
| subject_MarketParticipant. marketRole.type | Subject Party Role | Resource Provider (A27) |
| BidTimeSeries | Time Series | See below |

| BidTimeSeries | Attribute Name | Attribute Description |
| --- | --- | --- |
| mRID | mRID | A unique identification within the schedule message assigned by the sender. |
| auction.mRID | Auction | Not used, but this is a mandatory field. For example, user can set a fixed text such as “ISP RCO auction” |
| businessType | Business type | Frequency containment reserve (A95) Automatic frequency restoration reserve (A96) Manual frequency restoration reserve (A97) |
| acquiring_Domain.mRID | acquiring_Domain | EIC Code of the Cyprus Control Area |
| connecting_Domain.mRID | connecting_Domain | EIC Code of the Cyprus Control Area |
| provider_MarketParticipant.mRID | Market participant | Not Used |
| quantity_Measure_Unit.name | quantity_Measure_Unit | MAW |
| currency_Unit.name | currency_Unit | EUR |
| price_Measure_Unit.name | energyPrice_Measure_Unit | MAW |
| divisible | divisible | Yes (A01) |
| linkedBidsIdentification | linkedBidsIdentification | Not Used |
| multipartBidIdentification | multipartBidIdentification | Not Used |
| exclusiveBidsIdentification | exclusiveBidsIdentification | Not Used |
| blockBid | blockBid | Not Used |
| status | status | Not Used |
| priority | priority | Offer Block Index, only can be 1 |
| registeredResource.mRID | registeredResource | EIC Code of the Resource Object |
| flowDirection.direction | flowDirection | is UP (A01) or DOWN (A02) |
| energyPrice_Measure_Unit.name | energyPrice_Measure_Unit | MAW |
| marketAgreement.type | marketAgreement.type | Not Used |
| marketAgreement.mRID | marketAgreement.mRID | Not Used |
| marketAgreement.createdDateTime | marketAgreement.createdDateTime | Not Used |
| activation_ConstraintDuration.duration | activation_ConstraintDuration | Not Used |
| resting_ConstraintDuration.duration | resting_ConstraintDuration | Not Used |
| minimum_ConstraintDuration.duration | minimum_ConstraintDuration | Not Used |
| maximum_ConstraintDuration.duration | maximum_ConstraintDuration | Not Used |
| Period | Series_Period | See below |
| AvailableMBA_Domain | AvailableMBA_Domain | Not Used |
| Reason | Reason | Not Used |

| Series_Period | Attribute Name | Attribute Description |
| --- | --- | --- |
| timeInterval | Time interval | This information provides the start and end date and time of the period being reported. |
| resolution | Resolution | 30 min as a step time (PT30M) |
| Point | Point | List of values, see below |

| Point | Attribute Name | Attribute Description |
| --- | --- | --- |
| position | Position | A sequential value representing the relative position within a given time interval. |
| quantity.quantity | Quantity | Offer Quantity = must be 0 if resource object is not a LOADUNIT (as quantity is calculated by MMS), otherwise it is the offer quantity |
| minimum_Quantity.quantity | Minimum Quantity | Not used |
| price.amount | Price | Price of the reserve offer |
| energy_Price.amount | Energy Price | Not used |

### Validation Rules

The message is rejected if one of the following rules is not respected.

| Rule Name | Rule Description |
| --- | --- |
| ReserveBidPeriodIntervalRule | The Reserve Bid Period is a full EET day |
| ReserveBidGateOpenRule | The Message Time Interval match an open Participant Declaration Gate |
| SendingUserRule | The message is uploaded either by an operator user or by a user linked to the xml message sender |
| ResourceObjectRule | The Resource Object can only be: - A generating Unit, cannot be virtual neither contracted and not in test - A dispatchable load Unit - A dispatchable RES Unit more than 1MW, but not NGP, not Meter profiled, and not in test - A dispatchable RES Unit portfolio - A Combined Cycle Configuration The Resource Object Owner is the sender of the message. (Market Evaluation Point matching the Resource Object EIC Code) |
| DefaultingPartyRule | The resource object owner must not be a defaulting party |
| MessageIdentificationVersionRule | The previous message received with the same combination (message identification, message type, Sender Identification, Message Time Interval) has lower version |
| SenderRoleRule | Sender Role is Resource Provider (A27) |
| ReceiverIdentificationRule | The Receiver Identification is the Cyprus EIC Code |
| ReceiverRoleRule | Receiver Role is System operator (A04) |
| PeriodTimeIntervalRule | The Message Time Interval and the Period Time Interval are the same |
| SubjectPartyRoleRule | The sender MarketParticipant mRID must be equal to the subject MarketParticipant mRID and The sender MarketParticipant role must be equal to the subject MarketParticipant role |
| MessageTypeRule | Message Type is Proposed capacity (A32) |
| ProcessTypeRule | Process Type can have one of the following values: Manual / Automatic frequency restoration reserve or Frequency containment reserve. The process type defines the offer type, as follows: - Manual frequency restoration reserve (A47) = mFRR Capacity Offer - Automatic frequency restoration reserve (A51) = aFRR Capacity Offer - Frequency containment reserve (A52) = FCR Capacity Offer |
| DomainCyprusRule | Domain is the Cyprus Control Area EIC Code |
| BusinessTypeRule | Business Type should match the offer type defined by the process type: - Automatic frequency restoration reserve (A96) = aFRR Capacity Offer - Manual frequency restoration reserve (A97) = mFRR Capacity Offer - Frequency containment reserve (A95) = FCR Capacity Offer |
| DivisibleRule | Divisible is A01 (Yes) |
| linkedBidsIdentificationNotUsedRule | linkedBidsIdentification is not Used |
| multipartBidIdentificationNotUsedRule | multipartBidIdentification is not Used |
| exclusiveBidsIdentificationNotUsedRule | exclusiveBidsIdentification is not Used |
| blockBidNotUsedRule | blockBid is not Used |
| statusNotUsedRule | status is not Used |
| priorityRule | The priority is an integer with a value of 1. For the same combination (Resource Object, Direction, Reserve Commodity) in the message, only one priority 1 offer can exist. |
| connecting_DomainRule | Connected Domain is EIC Code of the Cyprus Control Area |
| price_Measure_UnitRule | price_Measure_Unit is MAW |
| currency_UnitRule | currency_Unit is EUR |
| provider_MarketParticipantRule | provider_MarketParticipant is the EIC Code of the Resource Provider |
| acquiring_DomainRule | acquiring_Domain is the EIC Code of the Cyprus Control Area |
| quantity_Measure_UnitRule | quantity_Measure_Unit is MAW |
| flowDirectionRule | flowDirection is UP (A01) or DOWN (A02) and it identifies the offer direction |
| capacityOfferPriceRule | Price must exist in each point and Energy Price is not used. The capacity price for each Reserve Offer for each Reserve type must be greater than (and not equal to) zero, and less than the Administratively Defined Reserve Offer Cap for such Reserve type |
| capacityVolumeProducerRule | If resource owner is a producer or RES producer or RES aggregator, then the capacity volume must be 0 and is replaced by the max reserve capacity volume of the commodity and direction being submitted as found in the standing data (MAXFCRUP or MAXFCRDO, MAXAFRRUP or MAXAFRRDO, MAXMFRRUP or MAXMFRRDO) |
| capacityVolumeConsumerRule | If resource owner is a Load representative (or resource object is a Load Unit), then the capacity volume must be higher than 0 but must not be higher than to the declared Capability to provide each type of reserve from standing data (MAXFCRUP or MAXFCRDO, MAXAFRRUP or MAXAFRRDO, MAXMFRRUP or MAXMFRRDO) |

## RES Injection Forecast

Forecast from RES Producers and EAC Supply for their generation for day D. One quantity per trading period per submission.

### Interface Format

The interface will use the CIM Schedule Market Document xsd.

Following Participants can submit RES Injection Forecast:

- RES Injection Forecasts by RES Producers and EAC Supply (for RES Units operating under National Grant Plans), being the operators of the RES Units having a Registered Capacity above 1 MW. RES Units can be Generic DER entities (e.g. Biomass, Small Conventional)

- RES Injection Forecasts by RES Aggregators and EAC Supply (for RES Units operating under National Grant Plans with Non-Profiled Meters), being the operators of the RES Units having a Registered Capacity below 1 MW

| Schedule_MarketDocument | Attribute Name | Attribute Description |
| --- | --- | --- |
| mRID | mRID | Unique identification of the message for which the time series data is being supplied. |
| revisionNumber | revisionNumber | Version of the message being sent. A message may be sent several times, each transmission being identified by a different version number that starts at 1 and increases sequentially. |
| Type | Message Type | Wind/solar/DER forecast (A69) |
| process.processType | Process Type | Day Ahead (A01) |
| process.classificationType | Schedule Classification Type | Exchange (A01) |
| sender_MarketParticipant.mRID | Sender Identification / Coding Scheme | EIC of the participant that sent the message or TSOC EIC Code |
| sender_MarketParticipant.marketRole.type | Sender Role | Producer (A21) |
| receiver_MarketParticipant.mRID | Receiver Identification / Coding Scheme | TSOC EIC Code |
| receiver_MarketParticipant.marketRole.type | Receiver Role | System Operator (A04) |
| createdDateTime | Message Date and Time | Date and time of transmission of the data. The time must be expressed in UTC as YYYY-MMDDTHH:MM:SSZ. |
| schedule_Time_Period.timeInterval | Message Time Interval | The beginning and ending date and time of the period covered by the message containing the schedule. |
| domain.mRID | Domain | Cyprus Control Area EIC Code |
| subject_MarketParticipant.mRID | Subject Party Identification / Coding Scheme | Not used |
| subject_MarketParticipant. marketRole.type | Subject Party Role | Not used |
| TimeSeries | Time Series | See below |

| Timeseries | Attribute Name | Attribute Description |
| --- | --- | --- |
| mRID | mRID | Unique identifier of the data time series. |
| version | version | The version number assigned to the time series in question. The time series version shall be the same as the document version number for its initial transmission. Each time a time series is modified the version number is assigned the same value as the schedule document version number used to transmit the modified information. |
| businessType | Business type | Wind/Solar/DER generation (A93) |
| product | Product | Active power (8716867000016) |
| objectAggregation | Object aggregation | Resource Object (A06) |
| in_Domain.mRID | Area / Coding scheme | Cyprus Control Area EIC Code |
| out_Domain.mRID | Area / Coding scheme | Not Used |
| marketEvaluationPoint.mRID | Market Evaluation Point | Resource Object EIC Code |
| in_MarketParticipant.mRID | Party / Coding scheme | Sender Identification |
| out_MarketParticipant.mRID | Party / Coding scheme | Not Used |
| marketAgreement.type | Agreement type | Not Used |
| marketAgreement.mRID | Agreement identification | Not Used |
| curveType | Curve Type | Sequential fixed size block (A01) |
| measurement_Unit.name | Measurement unit | MWH |
| Reason | Reason code | Not Used |
| Period | Series_Period | See below |
| connectingLine_RegisteredResource.mRID | Registered Resource Identification | Not used |

| Series_Period | Attribute Name | Attribute Description |
| --- | --- | --- |
| timeInterval | Time Interval | This information provides the start and end date and time of the period being reported. |
| resolution | Resolution | 30 min as a step time (PT30M) |
| Point | Point | List of values, see below |

| Point | Attribute Name | Attribute Description |
| --- | --- | --- |
| position | Position | A sequential value representing the relative position within a given time interval. |
| Quantity | Quantity | Energy quantity, in MWH |

### Validation Rules

The message is rejected if one of the following rules is not respected.

| Rule Name | Rule Description |
| --- | --- |
| SchemaFormatValidationRule | Obligatory fields of the XML must meet the related XSD specification. Moreover, the XML related business validations like checking against gate opening/closure times, existence of participant, etc. If this verification fails, then the file should be rejected, and a negative acknowledgement shall be sent to the Participant. |
| MessageTimeIntervalRule | The Message Time Interval is a full EET day |
| ForecastSubmissionDeadlineRule | The Message Time Interval for D must be submitted before the MP’s RES Injection forecast deadline (D-1 11:00 am) |
| SendingUserRule | The message is uploaded either by an operator user or by a user linked to the xml message sender |
| MessageIdentificationVersionRule | The previous message received with the same combination (message identification, message type, Sender Identification, Message Time Interval) has lower version |
| SenderRoleRule | Sender Role is Producer (A21) |
| ReceiverIdentificationRule | The Receiver Identification is TSOC EIC Code |
| ReceiverRoleRule | Receiver Role is System Operator (A04) |
| TimeIntervalRule | The Message Time Interval and the Unit Time Interval are the same |
| ResourceObjectRule | The Resource Object must be: - a RES Unit - a RES subunit. The Resource Object Owner is the sender of the message or the TSOC. |

## DAM Margin

The Margin that all producers should offer within the DAM pool, as detailed in Section 7, which corresponds to the difference between their available capacity and the sold forward quantities.

### Interface Format

The interface will use a SOAP web service. The MMS application is exposing a web service that the market participant can use to send a request. MMS application answers via a web service response with the DAM Margin of the Market participant. The same web service is used to query Initial DAM Margin and DAM Margin data, thanks to the boolean parameter “Initial”.

An example of the soap body request in xml format is provided below:

<soapenv:Envelope

xmlns:soapenv="http://schemas.xmlsoap.org/soap/envelope/"

xmlns:dam="http://tsoc.etse.com/DAMMarginDerivationDataService"

xmlns:wsse="http://docs.oasis-open.org/wss/2004/01/oasis-200401-wss-wssecurity-secext-1.0.xsd">

<soapenv:Header>

<wsse:Security>

<wsse:UsernameToken>

<wsse:Username>superuser</wsse:Username>

<wsse:Password Type="http://docs.oasis-open.org/wss/2004/01/oasis-200401-wss-username-token-profile-1.0#PasswordText">superuser</wsse:Password>

</wsse:UsernameToken>

</wsse:Security>

</soapenv:Header>

<soapenv:Body>

<dam:processDAMMarginData >

<arg0>

<period>

<start>2020-11-16T22:00:00.000Z</start>

<end>2020-11-17T22:00:00.000Z</end>

</period>

<marketParty>EAC_G</marketParty>

<resourceObject></resourceObject>

<initial>false</initial>

</arg0>

</dam:processDAMMarginData >

</soapenv:Body>

</soapenv:Envelope>

In the web service, the user representing the Market participant will have to provide 4 arguments:

the start and stop of the period

the name of the Market party he is representing

the name of the resource he needs to retrieve the DAM Margin. In the case the resource name is empty, DAM Margin for all the resources available under the market party will be sent.

the flag to specify if Initial DAM Margin data is requested or not. If the flag is set to “true”, the Initial DAM Margin data will be returned, if the flag is set to “false”, the latest DAM Margin data will be returned. If the flag is missing, then default value “false” will be considered.

An example of the response in xml format is provided bellow (only the 2 first intervals are shown, supposing EAC_G has only 2 resources):

<soap:Envelope xmlns:soap="http://schemas.xmlsoap.org/soap/envelope/">

<soap:Body>

<ns2: processDAMMarginDataResponse xmlns:ns2="http://tsoc.etse.com/DAMMarginDerivationDataService">

<return><![CDATA[<?xml version="1.0" encoding="UTF-8" standalone="yes"?>

<results>

<result>

<endDate>2020-11-16T22:30Z</endDate>

<marketParty>EAC_G</marketParty>

<resourceObject>DPS_1</resourceObject>

<startDate>2020-11-16T22:00Z</startDate>

<value>60.00000</value>

</result>

<result>

<endDate>2020-11-16T22:30Z </endDate>

<marketParty>EAC_G</marketParty>

<resourceObject>DPS_2</resourceObject>

<startDate>2020-11-16T22:00Z </startDate>

<value>60.00000</value>

</result>

<result>

<endDate>2020-11-16T23:00Z</endDate>

<marketParty>EAC_G</marketParty>

<resourceObject>DPS_1</resourceObject>

<startDate>2020-11-16T22:30Z</startDate>

<value>60.00000</value>

</result>

<result>

<endDate>2020-11-16T23:00Z </endDate>

<marketParty>EAC_G</marketParty>

<resourceObject>DPS_2</resourceObject>

<startDate>2020-11-16T22:30Z </startDate>

<value>60.00000</value>

</result>

…………………………………..

</results>]]></return>

</ns2: processDAMMarginDataResponse>

</soap:Body>

</soap:Envelope>

### Validation Rules

The message is rejected if one of the following rules is not respected.

| Rule Name | Rule Description |
| --- | --- |
| SchemaFormatValidationRule | Obligatory fields of the XML must meet the related XSD specification. Moreover, the XML related business validations like checking against gate opening/closure times, existence of participant, etc. If this verification fails, then the file should be rejected, and a negative response shall be sent to the Participant. |
| SendingUserRule | The request is coming from a registered user that belongs to a registered market participant authorized to participate in the Day Ahead Market |

# Forward Market Output XML Interfaces

## Net Delivery Position

The net sold/bought forward quantities of a MP, as described in Section 6, which corresponds to the summation of all Forward Physical Nominations to buy/sell.

### Interface Format

The interface will use the CIM Schedule Market Document xsd.

| Schedule_MarketDocument | Attribute Name | Attribute Description |
| --- | --- | --- |
| mRID | mRID | Unique identification of the message for which the time series data is being supplied. |
| revisionNumber | revisionNumber | Version of the message being sent. A message may be sent several times, each transmission being identified by a different version number that starts at 1 and increases sequentially. |
| Type | Message Type | Net Delivery Position (Z04) |
| process.processType | Process Type | Forward Market (Z01) |
| process.classificationType | Schedule Classification Type | Exchange (A01) |
| sender_MarketParticipant.mRID | Sender Identification / Coding Scheme | TSOC EIC Code |
| sender_MarketParticipant.marketRole.type | Sender Role | Market operator (A11) |
| receiver_MarketParticipant.mRID | Receiver Identification / Coding Scheme | EIC of the participant |
| receiver_MarketParticipant.marketRole.type | Receiver Role | Resource Provider (A27) |
| createdDateTime | Message Date and Time | Date and time of transmission of the data. The time must be expressed in UTC as YYYY-MMDDTHH:MM:SSZ. |
| schedule_Time_Period.timeInterval | Message Time Interval | The beginning and ending date and time of the period covered by the message containing the schedule. |
| domain.mRID | Domain | Cyprus Control Area EIC Code |
| TimeSeries | Time Series | See below |

| Timeseries | Attribute Name | Attribute Description |
| --- | --- | --- |
| mRID | mRID | Unique identifier of the data time series. |
| version | version | The version number assigned to the time series in question. The time series version shall be the same as the document version number for its initial transmission. Each time a time series is modified the version number is assigned the same value as the schedule document version number used to transmit the modified information. |
| businessType | Business type | Net Delivery Position (Z08) |
| product | Product | active power (8716867000016) |
| objectAggregation | Object aggregation | Party (A03) |
| in_Domain.mRID | Area / Coding scheme | Cyprus Control Area EIC Code |
| out_Domain.mRID | Area / Coding scheme | Not used |
| marketEvaluationPoint.mRID | Market Evaluation Point | Not used |
| in_MarketParticipant.mRID | Party / Coding scheme | Not used |
| out_MarketParticipant.mRID | Party / Coding scheme | Not used |
| marketAgreement.type | Agreement type | Not used |
| marketAgreement.mRID | Agreement identification | Not used |
| curveType | Curve Type | Sequential fixed size block (A01) |
| measurement_Unit.name | Measurement unit | MWH |
| Reason | Reason code | Not used |
| Period | Series_Period | See below |
| connectingLine_RegisteredResource.mRID | Registered Resource Identification | Not used |

| Series_Period | Attribute Name | Attribute Description |
| --- | --- | --- |
| timeInterval | Time Interval | This information provides the start and end date and time of the period being reported. |
| resolution | Resolution | 30 min as a step time (PT30M) |
| Point | Point | List of values, see below |

| Point | Attribute Name | Attribute Description |
| --- | --- | --- |
| position | Position | A sequential value representing the relative position within a given time interval. |
| Quantity | Quantity | Energy quantity, in MWH |
| Reason | Reason | Not used |

## Participant Forward Market Mismatch Quantity

Any mismatch between the Forward Contract Nominations and the Physical (Offtake/Delivery) Nominations of a MP. Normally the mismatch should be zero.

The Participant Forward Market Mismatch Quantity is calculated during the global verification of nominations as well as after the final submission of PDNs/PONs. The Forward Market Mismatch Quantity is considered in the Integrated Scheduling Process.

### Interface Format

The interface will use the CIM Energy Account Market Document xsd.

| EnergyAccount_MarketDocument | Attribute Name | Attribute Description |
| --- | --- | --- |
| mRID | mRID | Unique identification of the message for which the time series data is being supplied. |
| revisionNumber | revisionNumber | Version of the message being sent. A message may be sent several times, each transmission being identified by a different version number that starts at 1 and increases sequentially. |
| Type | Message/Document Type | Participant Mismatch Quantity document (Z05) |
| docStatus | Document Status | Intermediate (A01) for the initial publication Final (A02) for the final publication |
| process.processType | Process type | Z01 (Forward Market) |
| process.classificationType | Classification type | Detail (A01) |
| sender_MarketParticipant.mRID | Sender identification/ Coding scheme | EIC Code of Cyprus / coding scheme = A01 |
| sender_MarketParticipant.marketRole.type | Sender role | Market operator (A11) |
| receiver_MarketParticipant.mRID | Receiver identification/ Coding scheme | EIC Code of Market Participant |
| receiver_MarketParticipant.marketRole.type | Receiver role | Resource Provider (A27) |
| createdDateTime | createdDateTime | Date and time of transmission of the data. The time must be expressed in UTC as YYYY-MMDDTHH:MM:SSZ. |
| domain.mRID | Domain / Coding scheme | Cyprus Control Area EIC Code |
| period.timeInterval | Accounting period | See below |
| TimeSeries | Time Series | See below |

| Timeseries | Attribute Name | Attribute Description |
| --- | --- | --- |
| mRID | mRID | Unique identifier of the data time series. |
| businessType | Business type | FM Mismatch Quantity (Z09) |
| product | Product | Active Energy (8716867000030) |
| objectAggregation | Object aggregation | A06 (Resource Object) |
| area_Domain.mRID | Area / Coding scheme | EIC code / coding scheme of Scheduling Area |
| marketParticipant.mRID | Party / Coding scheme | Not used |
| marketAgreement.mRID | Agreement identification | Not used |
| measure_Unit.name | Measurement Unit | MWH Megawatt hour |
| currency_Unit.name | Currency | Not used |
| marketEvaluationPoint.mRID | Market Evaluation point | Not used |
| Series_Period | Period | See below |

| Series_Period | Attribute Name | Attribute Description |
| --- | --- | --- |
| timeInterval | ESMP_DateTimeInterval | Time interval field has to cover a complete day in business time zone, expressed in UTC - format YYYY-MM-DDTHH:MMZ/YYYY-MM-DDTHH:MMZ |
| resolution | Resolution | 30 min as a step time (PT30M) or daily (P1D) depending on the determinant resolution |
| Point | Point | See below |

| Point | Attribute Name | Attribute Description |
| --- | --- | --- |
| position | Position | A sequential value representing the relative position within a given time interval. |
| price.amount | Price | Not used |
| in_Quantity.quantity | In Quantity | Positive value of the mismatch |
| in_Quantity_quality | In Quality | Not used |
| out_Quantity_quality | Out Quality | Not used |
| out_Quantity.quantity | Out Quantity | Negative value of the mismatch |
| Reason | Reason | Not used |

## Auction specifications for RR, BS and CR

Are the specific characteristics of an Auction, including amongst others the product made available, the day of the Auction, the conditions that Offers must meet in order to be accepted, the conditions for the notification of the results of the Auction, the deadlines for contestation and the Auction session opening and closing times.

### Interface Format

The interface will use the CIM Auction Specification Market Document xsd.

| CapacityAuctionSpecification_MarketDocument | Attribute Name | Attribute Description |
| --- | --- | --- |
| mRID | mRID | Unique identification of the message for which the time series data is being supplied. |
| revisionNumber | revisionNumber | Version of the message being sent. A message may be sent several times, each transmission being identified by a different version number that starts at 1 and increases sequentially. |
| Type | Message/Document Type | Capacity Auction Specification Document (A51) |
| Process.processType | Process Type | Long term (A12) |
| sender_MarketParticipant.mRID | Sender identification / Coding scheme | TSOC EIC Code |
| sender_MarketParticipant.marketRole.type | Sender role | Market operator (A11) |
| receiver_MarketParticipant.mRID | Receiver identification / Coding scheme | TSOC EIC Code (public) |
| receiver_MarketParticipant.marketRole.type | Receiver role | Market operator (A11) |
| createdDateTime | ESMP_DateTime | The date and time of the creation of the document. |
| period.timeInterval | ESMP_DateTimeInterval | See below Must be same as delivery period (a month for RR, a year for BS and CR) |
| domain.mRID | Domain / Coding scheme | Cyprus Control Area EIC Code |
| Auction_TimeSeries | Time Series | See below |

| Auction_Timeseries | Attribute Name | Attribute Description |
| --- | --- | --- |
| mRID | mRID | Auction mRID |
| businessType | Business type | RR (Replacement Reserve) (A98) CR (Contingency Reserve) (B55) BS (Black Start) (Z07) |
| auction.category | Auction Category | Base – the auction is for a base period (A01) |
| auction.type | Auction Type | Explicit - The auction is an explicit auction (A02) |
| auction.allocationMode | Auction Allocation mode | Order by price with pro rata (A01) |
| auction.paymentTerms | Auction payment terms | Pay as cleared - The amount to be paid shall correspond to the amount calculated for clearing (A02) |
| auction.cancelled | Auction cancelled | Yes (A01)) No (A02) |
| bidding_Period.timeInterval | Bidding Period | See below ESMP_DateTimeInterval The beginning and ending date and time of the bidding period within which traders can submit bid. |
| in_Domain.mRID | In Domain | Cyprus Control Area EIC Code |
| out_Domain.mRID | Out Domain | Cyprus Control Area EIC Code |
| marketAgreement.type | Market Agreement type | Monthly (A03) for BT = A98 Yearly (A04) for BT = B55 or Z07) |
| delivery_Period.timeInterval | Delivery Period | See below ESMP_DateTimeInterval The beginning and ending date and time of the period when the capacity is to be used. |
| quantity_Measure_Unit.name | Quantity Measure Unit | MAW for RR and CR C62 (dimensionless quantity) for BS |
| price_Measure_Unit.name | Price Measure Unit | MAW |
| currency_Unit.name | Currency Unit | EUR |
| notification_MarketAgreement.createdDateTime | Notification time creation | The date and time that the participants will be notified of the results prior to the contestation period. |
| contestation_MarketAgreement.createdDateTime | Contestation time creation | The period in which contestations may be provided starts with the notification date time and ends with the contestation date and time. If there is no possibility of contestation both dates and times must be the same. |
| publication_MarketAgreement.createdDateTime | Publication time creation | The date and time that the final auction results will be published to the market after the contestation period. |
| resale_MarketAgreement.createdDateTime | Resale time creation | Not used. |
| curveType | Curve Type | Sequential fixed size block (A01) |
| Period | Series Period | See below Series_Period |
| AuctionDescription_AttributeInstanceComponent | Attribute Instance Component | See below AttributeInstanceComponent |
| RightsCharacteristics_Auction | Rights Characteristics | Not used |
| Reason | Reason | See below - Only used for cancellation of Auction |

| ESMP_DateTimeInterval | Attribute Name | Attribute Description |
| --- | --- | --- |
| Start | DateTimeInterval.start | Time of gate opening |
| End | DateTimeInterval.start | Time of gate closing |

| Series_Period | Attribute Name | Attribute Description |
| --- | --- | --- |
| timeInterval | ESMP_DateTimeInterval | See below |
| Resolution | Duration | The definition of the number of units of time that compose an individual step within a period |
| Point | Point | See below |

| AttributeInstanceComponent | Attribute Name | Attribute Description |
| --- | --- | --- |
| position | Position | For RR and CR, one position only: - Position 1 for comment (Text to be input by TSOC in the GUI) For BS, two positions only: - First position (=1) for comment (Text to be input by TSOC in the GUI) - Second position (=2) for the Minimum Required Pmax |
| attribute | Attribute | For position 1: Comment For position 2: Minimum Required Pmax |

| Point | Attribute Name | Attribute Description |
| --- | --- | --- |
| position | Position | A sequential value representing the relative position within a given time interval. |
| quantity | Quantity | The quantity to be auctioned for the interval in question. The principal quantity identified for a point |

| Reason | Attribute Name | Attribute Description |
| --- | --- | --- |
| code | Reason Code | A99 |
| text | Reason Text | Auction cancelled |

## Awarded bids for RR, BS and CR

The results of the Monthly Auction for the procurement of Replacement Reserve, or the results of the Yearly Auction for the procurement of Black Start service and Contingency Reserve.

### Interface Format

The interface will use the CIM Energy Account Market Document xsd.

| EnergyAccount_MarketDocument | Attribute Name | Attribute Description |
| --- | --- | --- |
| mRID | mRID | Unique identification of the message for which the time series data is being supplied. |
| revisionNumber | revisionNumber | Version of the message being sent. A message may be sent several times, each transmission being identified by a different version number that starts at 1 and increases sequentially. |
| Type | Message/Document Type | Reserve Allocation Result Document (A38) |
| docStatus | Document Status | Intermediate (A01) or Final (A02) or Cancelled (A09) |
| process.processType | Process type | System Operation Closure (A04) |
| process.classificationType | Classification type | Detail (A01) |
| sender_MarketParticipant.mRID | Sender identification / Coding scheme | EIC Code of Cyprus / coding scheme = A01 |
| sender_MarketParticipant.marketRole.type | Sender role | Market Operator (A11) |
| receiver_MarketParticipant.mRID | Receiver identification / Coding scheme | EIC Code of Market Participant |
| receiver_MarketParticipant.marketRole.type | Receiver role | Resource Provider (A27) |
| createdDateTime | createdDateTime | Date and time of transmission of the data. The time must be expressed in UTC as YYYY-MMDDTHH:MM:SSZ. |
| domain.mRID | Domain / Coding scheme | Cyprus Control Area EIC Code |
| period.timeInterval | ESMP_DateTimeInterval | See below |
| TimeSeries | Time Series | See below |

| Timeseries | Attribute Name | Attribute Description |
| --- | --- | --- |
| mRID | mRID | Unique identifier of the data time series. |
| businessType | Business type | RR (Replacement Reserve) (A98) CR (Contingency) (B55) BS (Black Start) (Z07) |
| product | Product | Active power (8716867000016) |
| objectAggregation | Object aggregation | Party (A03) for Business type A98 (Replacement Reserve) Resource Object (A06) for Business type A98 (Replacement Reserve) and B55 (Contingency Reserve) |
| area_Domain.mRID | Area / Coding scheme | Cyprus Control Area EIC Code |
| marketParticipant.mRID | Party / Coding scheme | Not used |
| marketAgreement.mRID | Agreement identification | Auction.mRID |
| measure_Unit.name | Measurement Unit | MAW for RR and CR C62 (dimensionless quantity) for BS |
| currency_Unit.name | Currency | EUR |
| marketEvaluationPoint.mRID | Market Evaluation point | Not used for Business type A98 (Replacement Reserve) EIC Code of the Resource Object for Business type A98 (Replacement Reserve) and B55 (Contingency Reserve) |
| Series_Period | Period | See below |

| Series_Period | Attribute Name | Attribute Description |
| --- | --- | --- |
| timeInterval | Time Interval | Time interval field has to cover a complete month in business time zone, expressed in UTC - format YYYY-MM-DDTHH:MMZ/YYYY-MM-DDTHH:MMZ for Business type A98 (Replacement Reserve) Time interval field has to cover a complete year in business time zone, expressed in UTC - format YYYY-MM-DDTHH:MMZ/YYYY-MM-DDTHH:MMZ for Business type B55 (Contingency Reserve) and Z07 (Black Start) |
| resolution | Resolution | PT30M (30 minutes) for Business type A98 (Replacement Reserve) P1Y (1 year) for Business type B55 (Contingency Reserve) and Z07 (Black Start) |
| Point | Point | See below |

| Point | Attribute Name | Attribute Description |
| --- | --- | --- |
| position | Position | A sequential value representing the relative position within a given time interval. |
| price.amount | Price | Awarded Price |
| in_Quantity.quantity | In Quantity | Awarded quantity for purchase |
| in_Quantity_quality | In Quality | Not used |
| out_Quantity_quality | Out Quality | Not used |
| out_Quantity.quantity | Out Quantity | Awarded quantity for sale |
| Reason | Reason | Not used |

## Acknowledgment for all types of input files

The Acknowledgement business process is generic and can be used in all business processes in the two-tier electricity market:

- system level - to detect syntax errors (XML parsing errors, etc.);

- application level - to detect semantic errors (invalid data, wrong process, etc.).

In the event of a problem found at the first level, a technical acknowledgement of receipt can then

be forwarded to the sender to inform them of this problem.

### Interface Format

The interface will use the CIM Acknowledgement Market Document xsd.

| Acknowledgement_MarketDocument | Attribute Name | Attribute Description |
| --- | --- | --- |
| mRID | mRID | Unique identification of the message for which the time series data is being supplied. |
| createdDateTime | ESMP_DateTime | The date and time of the creation of the document. |
| sender_MarketParticipant.mRID | Sender identification / Coding scheme | TSOC EIC Code |
| sender_MarketParticipant.marketRole.type | Sender role | System operator (A04) or Market Operator (A11) |
| receiver_MarketParticipant.mRID | Receiver identification / Coding scheme | EIC Code of the Resource Provider |
| receiver_MarketParticipant.marketRole.type | Receiver role | Receiver role |
| receiver_MarketDocument.mRID | Received document mRID | The unique identification of the document that has been received. The information is extracted from the received document. |
| receiver_MarketDocument.revisionNumber | Received document revision number | The version of the document that has been received. The information is extracted from the received document. |
| receiver_MarketDocument.type | Received document type | The type of the document that has been received. The information is extracted from the received document. |
| receiver_MarketDocument.title | Received file payload name | The payload file name of the document that has been received. The information is extracted from the received document |
| receiver_MarketDocument.createdDateTime | Received document time | The date and time of the creation of the document that has been received. The information is extracted from the received document |
| Time_Period | In Error Period | See below |
| TimeSeries | Rejected Time Series | See below |
| Reason | Reason | See below |

| Time_Period | Attribute Name | Attribute Description |
| --- | --- | --- |
| timeInterval | Series Period | The beginning and ending date and time of the period covered by the received message. |

| TimeSeries | Attribute Name | Attribute Description |
| --- | --- | --- |
| mRID | mRID | A unique identification of the time series |
| Version | Version | The identification of the version of the time series. |

| Reason | Attribute Name | Attribute Description |
| --- | --- | --- |
| code | Reason Code | The motivation of an act in coded form. |
| text | Reason Text | The textual explanation corresponding to the reason code. |

## Anomaly for Forward Contract Nominations

Any anomaly/mismatch related to a Forward Contract Nomination.

According to the ENTSO-E ESS business process, for OTC trades, where market participants individually submit their nominations, the following steps are carried on:

- Verifies that the schedule is coherent independently from the counter nomination. At the end of the verification process an acknowledgement document is transmitted informing the market participant of the results of the initial verification.

- On reception of the nomination from the counter party the nominations are matched and if any mismatches are identified an anomaly report is submitted to both parties.

- At the closure of the submission gate, a final confirmation report is transmitted to the market participants informing them of what will be effectively scheduled from their nominations.

### Interface Format

The interface will use the CIM Allocation Market Document xsd.

| Anomaly_MarketDocument | Attribute Name | Attribute Description |
| --- | --- | --- |
| mRID | mRID | Unique identification of the message for which the time series data is being supplied. |
| createdDateTime | ESMP_DateTime | The date and time of the creation of the document. |
| sender_MarketParticipant.mRID | Sender identification / Coding scheme | TSOC EIC Code |
| sender_MarketParticipant.marketRole.type | Sender role | System operator (A04) or Market Operator (A11) |
| receiver_MarketParticipant.mRID | Receiver identification / Coding scheme | EIC Code of the Resource Provider |
| receiver_MarketParticipant.marketRole.type | Receiver role | Receiver role / Receiver provider (A27) |
| schedule_Time_Period.timeInterval | Time Interval | Time interval field has to cover a complete day in business time zone, expressed in UTC - format YYYY-MM-DDTHH:MMZ/YYYY-MM-DDTHH:MMZ |
| Original_MarketDocument | Original_MarketDocument | See below |

| Original_MarketDocument | Attribute Name | Attribute Description |
| --- | --- | --- |
| mRID | mRID | Unique identification of the document being exchanged. |
| MarketParticipant.mRID | Sender identification | TSOC EIC Code |
| RevisionNumber | Received document revision number | The identification of the version that distinguishes one evolution of a document from another. |
| Anomaly_TimeSeries | Anomaly_TimeSeries | See below |

| Anomaly_TimeSeries | Attribute Name | Attribute Description |
| --- | --- | --- |
| mRID | mRID | A unique identification from the original document containing where the anomaly error was detected |
| Version | Version | Version from the original document containing where the anomaly error was detected |
| businessType | Business type | Business type from the original document containing where the anomaly error was detected |
| product | Product | Product from the original document containing where the anomaly error was detected |
| objectAggregation | Object aggregation | Object aggregation from the original document containing where the anomaly error was detected |
| in_Domain.mRID | Area / Coding scheme | In Domain from the original document containing where the anomaly error was detected |
| out_Domain.mRID | Area / Coding scheme | Out Domain from the original document containing where the anomaly error was detected |
| marketEvaluationPoint.mRID | Market | Market Evaluation Point from the original document containing where the anomaly error was detected |
| in_MarketParticipant.mRID | Party / Coding scheme | In Party from the original document containing where the anomaly error was detected |
| out_MarketParticipant.mRID | Party / Coding scheme | Out Party from the original document containing where the anomaly error was detected |
| marketAgreement.type | Agreement type | Market Agreement type from the original document containing where the anomaly error was detected |
| marketAgreement.mRID | Agreement identification | Market Agreement identification from the original document containing where the anomaly error was detected |
| curveType | Curve Type | Curve Type from the original document containing where the anomaly error was detected |
| measurement_Unit.name | Measurement unit | Measurement unit from the original document containing where the anomaly error was detected |
| Series_Period | Series_Period | See below |
| Reason | Reason | See below |

| Reason | Attribute Name | Attribute Description |
| --- | --- | --- |
| code | Reason Code | Time series not matching (A09) Counterpart time series quantity differences (A29) |
| text | Reason Text | For reason Code = A09 – Time series not matching For reason Code = A29 – Counterpart time series quantity differences |

| Series_Period | Attribute Name | Attribute Description |
| --- | --- | --- |
| timeInterval | Series Period | The beginning and ending date and time of the period covered by the received message. |
| Resolution | Resolution | 30 min as a step time (PT30M) |
| Point | Point | See Below |

| Point | Attribute Name | Attribute Description |
| --- | --- | --- |
| Position | Position | Position of an interval in described Period (first value is 1) |
| Quantity | Quantity | Quantity in MWH of the product scheduled for the position within the time interval in question |

## Confirmation for Forward Contract Nominations

A confirmation for a Forward Contract Nomination.

According to the ENTSO-E ESS business process, for OTC trades, where market participants individually submit their nominations, the following steps are carried on:

- Verifies that the schedule is coherent independently from the counter nomination. At the end of the verification process an acknowledgement document is transmitted informing the market participant of the results of the initial verification.

- On reception of the nomination from the counter party the nominations are matched and if any mismatches are identified an anomaly report is submitted to both parties.

- At the closure of the submission gate a final confirmation report is transmitted to the market participants informing them of what will be effectively scheduled from their nominations.

### Interface Format

The interface will use the CIM Allocation Market Document xsd.

| Confirmed_MarketDocument | Attribute Name | Attribute Description |
| --- | --- | --- |
| mRID | mRID | Unique identification of the message for which the time series data is being supplied. |
| type | Message type | Final confirmation report (A08) |
| createdDateTime | ESMP_DateTime | The date and time of the creation of the document. |
| sender_MarketParticipant.mRID | Sender identification / Coding scheme | TSOC EIC Code |
| sender_MarketParticipant.marketRole.type | Sender role | Market Operator (A11) |
| receiver_MarketParticipant.mRID | Receiver identification / Coding scheme | EIC Code of the Resource Provider |
| receiver_MarketParticipant.marketRole.type | Receiver role | Balance responsible party (A08) |
| confirmed_MarketDocument.mRID | Confirmed document mRID | The unique identification of the document that is confirmed. The information is extracted from the document to confirm. |
| confirmed_MarketDocument.revisionNumber | Confirmed document revision number | The version of the document that is confirmed. The information is extracted from the document to confirm. |
| domain.mRID | Domain | Cyprus Control Area EIC Code |
| subject_MarketParticipant.mRID | Subject Market Party | Not used |
| subject_MarketParticipant.marketRole.type | Subject Market Party Role | Not used. |
| process.processType | Process type | System operation closure (A04) |
| Confirmed_TimeSeries | Confirmed TimeSeries | See below |
| Imposed_TimeSeries | Imposed TimesSeries | See below |
| Reason | Reason | See below |

| Confirmed_TimeSeries | Attribute Name | Attribute Description |
| --- | --- | --- |
| mRID | mRID | A unique identification from the original document that is confirmed |
| version | Version | The identification of the version from the original document that is confirmed |
| businessType | Business type | The business type from the original document that is confirmed |
| product | Product | The Product from the original document that is confirmed |
| objectAggregation | Object aggregation | The Object aggregation from the original document that is confirmed |
| in_Domain.mRID | Area / Coding scheme | The in Area from the original document that is confirmed |
| out_Domain.mRID | Area / Coding scheme | The out Area from the original document that is confirmed |
| marketEvaluationPoint.mRID | Market Evaluation Point | The Market Evaluation Point from the original document that is confirmed |
| in_MarketParticipant.mRID | Party / Coding scheme | The in Party from the original document that is confirmed |
| out_MarketParticipant.mRID | Party / Coding scheme | The out Party from the original document that is confirmed |
| marketAgreement.type | Agreement type | The Agreement type from the original document that is confirmed |
| marketAgreement.mRID | Agreement identification | The Agreement identification from the original document that is confirmed |
| curveType | Curve Type | The Curve Type from the original document that is confirmed |
| measure_Unit.name | Measurement unit | The Measurement unit from the original document that is confirmed |
| Imposed_TimeSeries | Imposed TimeSeries | See below |
| Reason | Reason | See below |

| Imposed_TimeSeries | Attribute Name | Attribute Description |
| --- | --- | --- |
| mRID | mRID | A unique identification from the original document that is imposed |
| version | Version | The identification of the version from the original document that is imposed |
| businessType | Business type | The business type from the original document that is imposed |
| product | Product | The Product from the original document that is imposed |
| objectAggregation | Object aggregation | The Object aggregation from the original document that is imposed |
| in_Domain.mRID | Area / Coding scheme | The in Area from the original document that is imposed |
| out_Domain.mRID | Area / Coding scheme | The out Area from the original document that is imposed |
| marketEvaluationPoint.mRID | Market Evaluation Point | The Market Evaluation Point from the original document that is imposed |
| in_MarketParticipant.mRID | Party / Coding scheme | The in Party from the original document that is imposed |
| out_MarketParticipant.mRID | Party / Coding scheme | The out Party from the original document that is imposed |
| marketAgreement.type | Agreement type | The Agreement type from the original document that is imposed |
| marketAgreement.mRID | Agreement identification | The Agreement identification from the original document that is imposed |
| curveType | Curve Type | The Curve Type from the original document that is imposed |
| measure_Unit.name | Measurement unit | The Measurement unit from the original document that is imposed |
| Series_Period | Series Period | See below |
| Reason | Reason | See below |

| Series_Period | Attribute Name | Attribute Description |
| --- | --- | --- |
| timeInterval | Series Period | The beginning and ending date and time of the period covered by the received message. |
| resolution | Resolution | 30 min as a step time (PT30M) |
| Point | Point | See Below |

| Point | Attribute Name | Attribute Description |
| --- | --- | --- |
| Position | Position | A sequential value representing the relative position within a given time interval. |
| Quantity | Quantity | Quantity in MWH |
| Reason | Reason | See below |

| Reason | Attribute Name | Attribute Description |
| --- | --- | --- |
| code | Reason Code | A20: Time series fully rejected A30: Imposed Time series from nominated party's time series |
| text | Reason Text | For ReasonCode = A20 - TS Rejected (CP Missing) For ReasonCode = A30 - Imposed Time series from nominated party's time series (Minimum rule) |

# Day Ahead Market Output XML Interfaces

## Forecasted Market Clearing Prices

The forecasted price of the Day-Ahead Market.

The Forecasted Market Clearing Prices are made public for all the participants as 10:00 every day. The forecasted market clearing price (MCP) is a calculated price based on historical data.

### Interface Format

The interface will use the CIM Energy Account Market Document xsd.

| EnergyAccount_MarketDocument | Attribute Name | Attribute Description |
| --- | --- | --- |
| mRID | mRID | Unique identification of the message for which the time series data is being supplied. |
| revisionNumber | revisionNumber | Version of the message being sent. A message may be sent several times, each transmission being identified by a different version number that starts at 1 and increases sequentially. |
| Type | Message/Document Type | Forecasted MCP (Z06) |
| docStatus | Document Status | Intermediate (A01) |
| process.processType | Process type | System Operation Closure (A04) |
| process.classificationType | Classification type | Detail (A01) |
| sender_MarketParticipant.mRID | Sender identification / Coding scheme | EIC Code of Cyprus / coding scheme = A01 |
| sender_MarketParticipant.marketRole.type | Sender role | Market Operator (A11) |
| receiver_MarketParticipant.mRID | Receiver identification / Coding scheme | EIC Code of Cyprus (public) / coding scheme = A01 |
| receiver_MarketParticipant.marketRole.type | Receiver role | Market Operator (A11) |
| createdDateTime | createdDateTime | Date and time of transmission of the data. The time must be expressed in UTC as YYYY-MMDDTHH:MM:SSZ. |
| domain.mRID | Domain / Coding scheme | Cyprus Control Area EIC Code |
| period.timeInterval | ESMP_DateTimeInterval | See below |
| TimeSeries | Time Series | See below |

| Timeseries | Attribute Name | Attribute Description |
| --- | --- | --- |
| mRID | mRID | Unique identifier of the data time series. |
| businessType | Business type | Spot price (A62) |
| product | Product | Active Energy (8716867000030) |
| objectAggregation | Object aggregation | Scheduling Area (A01) |
| area_Domain.mRID | Area / Coding scheme | EIC code / coding scheme of Scheduling Area |
| marketParticipant.mRID | Party / Coding scheme | Not used |
| marketAgreement.mRID | Agreement identification | Not used |
| measure_Unit.name | Measurement Unit | MWH |
| currency_Unit.name | Currency | EUR |
| marketEvaluationPoint.mRID | Market Evaluation point | Not used |
| Series_Period | Period | See below |

| Series_Period | Attribute Name | Attribute Description |
| --- | --- | --- |
| timeInterval | Time Interval | Time interval field has to cover a complete day in business time zone, expressed in UTC - format YYYY-MM-DDTHH:MMZ/YYYY-MM-DDTHH:MMZ |
| resolution | Resolution | 30 min as a step time (PT30M) |
| Point | Point | See below |

| Point | Attribute Name | Attribute Description |
| --- | --- | --- |
| position | Position | A sequential value representing the relative position within a given time interval. |
| price.amount | Price | Forecasted MCP Price |
| in_Quantity.quantity | In Quantity | Not used |
| in_Quantity_quality | In Quality | Not used |
| out_Quantity_quality | Out Quality | Not used |
| out_Quantity.quantity | Out Quantity | Not used |
| Reason | Reason | Not used |

## Market Clearing Prices

The clearing prices for all Trading Periods of the Day-Ahead Market.

The Market Clearing Prices are made public for all the participants as soon as the gate Market clearing is closed.

### Interface Format

The interface will use the CIM Energy Account Market Document xsd.

| EnergyAccount_MarketDocument | Attribute Name | Attribute Description |
| --- | --- | --- |
| mRID | mRID | Unique identification of the message for which the time series data is being supplied. |
| revisionNumber | revisionNumber | Version of the message being sent. A message may be sent several times, each transmission being identified by a different version number that starts at 1 and increases sequentially. |
| Type | Message/Document Type | Price Document (A44) |
| docStatus | Document Status | Final (A02) |
| process.processType | Process type | System Operation Closure (A04) |
| process.classificationType | Classification type | Detail (A01) |
| sender_MarketParticipant.mRID | Sender identification / Coding scheme | EIC Code of Cyprus / coding scheme = A01 |
| sender_MarketParticipant.marketRole.type | Sender role | Market Operator (A11) |
| receiver_MarketParticipant.mRID | Receiver identification / Coding scheme | EIC Code of Cyprus (Public) / coding schedule = A01 |
| receiver_MarketParticipant.marketRole.type | Receiver role | Market Operator (A11) |
| createdDateTime | createdDateTime | Date and time of transmission of the data. The time must be expressed in UTC as YYYY-MMDDTHH:MM:SSZ. |
| domain.mRID | Domain / Coding scheme | Cyprus Control Area EIC Code |
| period.timeInterval | ESMP_DateTimeInterval | See below |
| TimeSeries | Time Series | See below |

| Timeseries | Attribute Name | Attribute Description |
| --- | --- | --- |
| mRID | mRID | Unique identifier of the data time series. |
| businessType | Business type | Spot price (A62) |
| product | Product | Active Energy (8716867000030) |
| objectAggregation | Object aggregation | Scheduling Area (A01) |
| area_Domain.mRID | Area / Coding scheme | EIC code / coding scheme of Scheduling Area |
| marketParticipant.mRID | Party / Coding scheme | Not used |
| marketAgreement.mRID | Agreement identification | Not used |
| measure_Unit.name | Measurement Unit | MWH |
| currency_Unit.name | Currency | EUR |
| marketEvaluationPoint.mRID | Market Evaluation point | Not used |
| Series_Period | Period | See below |

| Series_Period | Attribute Name | Attribute Description |
| --- | --- | --- |
| timeInterval | Time Interval | Time interval field has to cover a complete day in business time zone, expressed in UTC - format YYYY-MM-DDTHH:MMZ/YYYY-MM-DDTHH:MMZ |
| resolution | Resolution | 30 min as a step time (PT30M) |
| Point | Point | See below |

| Point | Attribute Name | Attribute Description |
| --- | --- | --- |
| position | Position | A sequential value representing the relative position within a given time interval. |
| price.amount | Price | Market Clearing Price |
| in_Quantity.quantity | In Quantity | Not used |
| in_Quantity_quality | In Quality | Not used |
| out_Quantity_quality | Out Quality | Not used |
| out_Quantity.quantity | Out Quantity | Not used |
| Reason | Reason | Not used |

## DAM Cleared Energy volumes and Prices

The energy volumes, corresponding to cleared (i.e. selected) bids and offers, that were cleared during the DAM clearing process as well as the relevant clearing prices.

The Cleared Energy volumes and Prices are available for the participant to download as soon as the gate Market clearing is closed. This data is also made available for TSOC’s publishing system to publish the clearing result on TSOC’s website and for the Settlement module of MMS.

### Interface Format

The interface will use the CIM Energy Account Market Document xsd.

| EnergyAccount_MarketDocument | Attribute Name | Attribute Description |
| --- | --- | --- |
| mRID | mRID | Unique identification of the message for which the time series data is being supplied. |
| revisionNumber | revisionNumber | Version of the message being sent. A message may be sent several times, each transmission being identified by a different version number that starts at 1 and increases sequentially. |
| Type | Message/Document Type | Cleared Energy Volumes and Prices (Z07) |
| docStatus | Document Status | Intermediate (A01) or Final (A02) |
| process.processType | Process type | System Operation Closure (A04) |
| process.classificationType | Classification type | Detail (A01) |
| sender_MarketParticipant.mRID | Sender identification / Coding scheme | EIC Code of Cyprus / coding scheme = A01 |
| sender_MarketParticipant.marketRole.type | Sender role | Market Operator (A11) |
| receiver_MarketParticipant.mRID | Receiver identification / Coding scheme | EIC Code of Market Participant |
| receiver_MarketParticipant.marketRole.type | Receiver role | Resource Provider (A27) |
| createdDateTime | createdDateTime | Date and time of transmission of the data. The time must be expressed in UTC as YYYY-MMDDTHH:MM:SSZ. |
| domain.mRID | Domain / Coding scheme | Cyprus Control Area EIC Code |
| period.timeInterval | ESMP_DateTimeInterval | See below |
| TimeSeries | Time Series | See below |

| Timeseries | Attribute Name | Attribute Description |
| --- | --- | --- |
| mRID | mRID | Unique identifier of the data time series. |
| businessType | Business type | Day ahead Cleared Energy Volumes and Prices (Z10) |
| product | Product | Active Energy (8716867000030) |
| objectAggregation | Object aggregation | Resource Object (A06) |
| area_Domain.mRID | Area / Coding scheme | Cyprus Control Area EIC Code |
| marketParticipant.mRID | Party / Coding scheme | Not used |
| marketAgreement.mRID | Agreement identification | Bid TS mRID of the original document |
| measure_Unit.name | Measurement Unit | MWH (Megawatt hour) |
| currency_Unit.name | Currency | EUR |
| marketEvaluationPoint.mRID | Market Evaluation point | EIC Code of the Resource Object |
| Series_Period | Period | See below |

| Series_Period | Attribute Name | Attribute Description |
| --- | --- | --- |
| timeInterval | Time Interval | Time interval field has to cover a complete day in business time zone, expressed in UTC - format YYYY-MM-DDTHH:MMZ/YYYY-MM-DDTHH:MMZ |
| resolution | Resolution | 30 min as a step time (PT30M) |
| Point | Point | See below |

| Point | Attribute Name | Attribute Description |
| --- | --- | --- |
| position | Position | A sequential value representing the relative position within a given time interval. |
| price.amount | Price | Awarded Price |
| in_Quantity.quantity | In Quantity | Awarded quantity for purchase |
| in_Quantity_quality | In Quality | Not used |
| out_Quantity_quality | Out Quality | Not used |
| out_Quantity.quantity | Out Quantity | Awarded quantity for sale |
| Reason | Reason | Not used |

## Market Schedules

At Opening of the Market clearing publication gate, DAM system publishes to Market Participants the accepted Energy Orders, energy quantities as well as the resulting MCPs. The “Market Schedule” refers to the sum of Physical Energy Deliveries and Offtakes (PDN/PON) for each Trading Period of all entities for a given Participant and the sold/bought quantity in the Day-Ahead Market (after the Day-Ahead Market results).

### Interface Format

The interface will use the CIM Schedule Market Document xsd.

| Schedule_MarketDocument | Attribute Name | Attribute Description |
| --- | --- | --- |
| mRID | mRID | Unique identification of the message for which the time series data is being supplied. |
| revisionNumber | revisionNumber | Version of the message being sent. A message may be sent several times, each transmission being identified by a different version number that starts at 1 and increases sequentially. |
| Type | Message Type | Finalized Schedule (A09) |
| process.processType | Process Type | Day Ahead (A01) |
| process.classificationType | Schedule Classification Type | Exchange (A01) |
| sender_MarketParticipant.mRID | Sender Identification / Coding Scheme | TSOC EIC Code |
| sender_MarketParticipant.marketRole.type | Sender Role | Market operator (A11) |
| receiver_MarketParticipant.mRID | Receiver Identification / Coding Scheme | EIC of the participant. |
| EIC of the participant. | Receiver Role | Resource Provider (A27) System Operator (A04) |
| createdDateTime | Message Date and Time | Date and time of transmission of the data. The time must be expressed in UTC as YYYY-MMDDTHH:MM:SSZ. |
| schedule_Time_Period.timeInterval | Message Time Interval | The beginning and ending date and time of the period covered by the message containing the schedule. |
| domain.mRID | Domain | Cyprus Control Area EIC Code |
| TimeSeries | Time Series | See below |

| Timeseries | Attribute Name | Attribute Description |
| --- | --- | --- |
| mRID | mRID | Unique identifier of the data time series. |
| version | version | The version number assigned to the time series in question. The time series version shall be the same as the document version number for its initial transmission. Each time a time series is modified the version number is assigned the same value as the schedule document version number used to transmit the modified information. |
| businessType | Business type | Production (A01) Consumption (A04) |
| product | Product | Active power (8716867000016) |
| objectAggregation | Object aggregation | Resource Object (A06) |
| in_Domain.mRID | Area / Coding scheme | Cyprus Control Area EIC Code (for BT=A01) Not used (for BT=A02) |
| out_Domain.mRID | Area / Coding scheme | Cyprus Control Area EIC Code (for BT=A02) Not used (for BT=A01) |
| marketEvaluationPoint.mRID | Market Evaluation Point | Resource Object EIC Code |
| in_MarketParticipant.mRID | Party / Coding scheme | Not used |
| out_MarketParticipant.mRID | Party / Coding scheme | Not used |
| marketAgreement.type | Agreement type | Not used |
| marketAgreement.mRID | Agreement identification | Not used |
| curveType | Curve Type | Sequential fixed size block (A01) |
| measurement_Unit.name | Measurement unit | MWH |
| Reason | Reason code | Not used |
| Period | Series_Period | See below |
| connectingLine_RegisteredResource.mRID | Registered Resource Identification | Not used |

| Series_Period | Attribute Name | Attribute Description |
| --- | --- | --- |
| timeInterval | Time Interval | This information provides the start and end date and time of the period being reported. |
| resolution | Resolution | 30 min as a step time (PT30M) |
| Point | Point | List of values, see below |

| Point | Attribute Name | Attribute Description |
| --- | --- | --- |
| position | Position | A sequential value representing the relative position within a given time interval. |
| Quantity | Quantity | Quantity in MWH |
| Reason | Reason | Not used |

# Balancing Market Output XML Interfaces

## Commitment Schedules

The binding commitment schedule of Generating Units, as attained by the solution of the Integrated Scheduling Process.

### Interface Format

The interface will use the CIM Schedule Market Document xsd.

| Schedule_MarketDocument | Attribute Name | Attribute Description |
| --- | --- | --- |
| mRID | mRID | Unique identification of the message for which the time series data is being supplied. |
| revisionNumber | revisionNumber | Version of the message being sent. A message may be sent several times, each transmission being identified by a different version number that starts at 1 and increases sequentially. |
| Type | Message Type | Commitment Schedule (Z09) |
| process.processType | Process Type | System operation closure (A04) |
| process.classificationType | Schedule Classification Type | Exchange (A01) |
| sender_MarketParticipant.mRID | Sender Identification / Coding Scheme | TSOC EIC Code |
| sender_MarketParticipant.marketRole.type | Sender Role | System Operator (A04) |
| receiver_MarketParticipant.mRID | Receiver Identification / Coding Scheme | EIC of the participant. |
| EIC of the participant. | Receiver Role | Resource Provider (A27) |
| createdDateTime | Message Date and Time | Date and time of transmission of the data. The time must be expressed in UTC as YYYY-MMDDTHH:MM:SSZ. |
| schedule_Time_Period.timeInterval | Message Time Interval | The beginning and ending date and time of the period covered by the message containing the schedule. |
| domain.mRID | Domain | Cyprus Control Area EIC Code |
| TimeSeries | Time Series | See below |

| Timeseries | Attribute Name | Attribute Description |
| --- | --- | --- |
| mRID | mRID | Unique identifier of the data time series. |
| version | version | The version number assigned to the time series in question. The time series version shall be the same as the document version number for its initial transmission. Each time a time series is modified the version number is assigned the same value as the schedule document version number used to transmit the modified information. |
| businessType | Business type | Production (A01) Consumption (A04) |
| product | Product | Active power (8716867000016) |
| objectAggregation | Object aggregation | Resource Object (A06) |
| in_Domain.mRID | Area / Coding scheme | Cyprus Control Area EIC Code (for BT=A01) Not used (for BT=A02) |
| out_Domain.mRID | Area / Coding scheme | Cyprus Control Area EIC Code (for BT=A02) Not used (for BT=A01) |
| marketEvaluationPoint.mRID | Market Evaluation Point | Resource Object EIC Code |
| in_MarketParticipant.mRID | Party / Coding scheme | Not used |
| out_MarketParticipant.mRID | Party / Coding scheme | Not used |
| marketAgreement.type | Agreement type | Not used |
| marketAgreement.mRID | Agreement identification | Not used |
| curveType | Curve Type | Sequential fixed size block (A01) |
| measurement_Unit.name | Measurement unit | C62 (dimensionless quantity) |
| Reason | Reason code | Not used |
| Period | Series_Period | See below |
| connectingLine_RegisteredResource.mRID | Registered Resource Identification | Not used |

| Series_Period | Attribute Name | Attribute Description |
| --- | --- | --- |
| timeInterval | Time Interval | This information provides the start and end date and time of the period being reported. |
| resolution | Resolution | 30 min as a step time (PT30M) |
| Point | Point | List of values, see below |

| Point | Attribute Name | Attribute Description |
| --- | --- | --- |
| position | Position | A sequential value representing the relative position within a given time interval. |
| Quantity | Quantity | Quantity (1 means committed, 0 means not committed) |
| Reason | Reason | Not used |

## ISP Reserve Awards

The awarded Reserve Capacity for the provision of upward and downward FCR, aFRR and mFRR to the system by a Balancing Service Provider, as attained by the solution of the Integrated Scheduling Process.

### Interface Format

The interface will use the CIM Energy Account Market Document xsd.

| EnergyAccount_MarketDocument | Attribute Name | Attribute Description |
| --- | --- | --- |
| mRID | mRID | Unique identification of the message for which the time series data is being supplied. |
| revisionNumber | revisionNumber | Version of the message being sent. A message may be sent several times, each transmission being identified by a different version number that starts at 1 and increases sequentially. |
| Type | Message/Document Type | Reserve Allocation Result Document (A38) |
| docStatus | Document Status | Final (A02) |
| process.processType | Process type | System Operation Closure (A04) |
| process.classificationType | Classification type | Detail (A01) |
| sender_MarketParticipant.mRID | Sender identification / Coding scheme | EIC Code of Cyprus / coding scheme = A01 |
| sender_MarketParticipant.marketRole.type | Sender role | System Operator (A04) |
| receiver_MarketParticipant.mRID | Receiver identification / Coding scheme | EIC Code of Market Participant |
| receiver_MarketParticipant.marketRole.type | Receiver role | Resource Provider (A27) |
| createdDateTime | createdDateTime | Date and time of transmission of the data. The time must be expressed in UTC as YYYY-MMDDTHH:MM:SSZ. |
| domain.mRID | Domain / Coding scheme | Cyprus Control Area EIC Code |
| period.timeInterval | ESMP_DateTimeInterval | See below |
| TimeSeries | Time Series | See below |

| Timeseries | Attribute Name | Attribute Description |
| --- | --- | --- |
| mRID | mRID | Unique identifier of the data time series. |
| businessType | Business type | Automatic frequency restoration reserve (A96) = aFRR Capacity Offer Manual frequency restoration reserve (A97) = mFRR Capacity Offer Frequency containment reserve (A95) = FCR Capacity Offer |
| product | Product | Active Energy (8716867000030) |
| objectAggregation | Object aggregation | Resource Object (A06) |
| area_Domain.mRID | Area / Coding scheme | Cyprus Control Area EIC Code |
| marketParticipant.mRID | Party / Coding scheme | Not used |
| marketAgreement.mRID | Agreement identification | Not used |
| measure_Unit.name | Measurement Unit | MAW (Megawatt) |
| currency_Unit.name | Currency | EUR |
| marketEvaluationPoint.mRID | Market Evaluation point | EIC Code of the Resource Object |
| Series_Period | Period | See below |

| Series_Period | Attribute Name | Attribute Description |
| --- | --- | --- |
| timeInterval | Time Interval | Time interval field has to cover a complete day in business time zone, expressed in UTC - format YYYY-MM-DDTHH:MMZ/YYYY-MM-DDTHH:MMZ |
| resolution | Resolution | 30 min as a step time (PT30M) |
| Point | Point | See below |
| Point | Attribute Name | Attribute Description |
| position | Position | A sequential value representing the relative position within a given time interval. |
| price.amount | Price | Awarded Price |
| in_Quantity.quantity | In Quantity | Awarded quantity for purchase |
| in_Quantity_quality | In Quality | Not used |
| out_Quantity_quality | Out Quality | Not used |
| out_Quantity.quantity | Out Quantity | Awarded quantity for sale |
| Reason | Reason | Not used |

## Marginal Reserve Prices

The price (in €/MW) used for the remuneration of FCR, aFRR and mFRR for each Trading Period of each Trading Day, which is derived from the solution of the Integrated Scheduling Process.

### Interface Format

The interface will use the CIM Energy Account Market Document xsd.

| EnergyAccount_MarketDocument | Attribute Name | Attribute Description |
| --- | --- | --- |
| mRID | mRID | Unique identification of the message for which the time series data is being supplied. |
| revisionNumber | revisionNumber | Version of the message being sent. A message may be sent several times, each transmission being identified by a different version number that starts at 1 and increases sequentially. |
| Type | Message/Document Type | Price Document (A44) |
| docStatus | Document Status | Final (A02) |
| process.processType | Process type | System Operation Closure (A04) |
| process.classificationType | Classification type | Detail (A01) |
| sender_MarketParticipant.mRID | Sender identification / Coding scheme | EIC Code of Cyprus / coding scheme = A01 |
| sender_MarketParticipant.marketRole.type | Sender role | System Operator (A04) |
| receiver_MarketParticipant.mRID | Receiver identification / Coding scheme | EIC Code of Cyprus (Public) / coding scheme = A01 |
| receiver_MarketParticipant.marketRole.type | Receiver role | System Operator (A04) |
| createdDateTime | createdDateTime | Date and time of transmission of the data. The time must be expressed in UTC as YYYY-MMDDTHH:MM:SSZ. |
| domain.mRID | Domain / Coding scheme | Cyprus Control Area EIC Code |
| period.timeInterval | ESMP_DateTimeInterval | See below |
| TimeSeries | Time Series | See below |

| Timeseries | Attribute Name | Attribute Description |
| --- | --- | --- |
| mRID | mRID | Unique identifier of the data time series. |
| businessType | Business type | Automatic frequency restoration reserve (A96) = aFRR Capacity Offer Manual frequency restoration reserve (A97) = mFRR Capacity Offer Frequency containment reserve (A95) = FCR Capacity Offer |
| product | Product | Active Energy (8716867000030) |
| objectAggregation | Object aggregation | Scheduling Area (A01) |
| area_Domain.mRID | Area / Coding scheme | Cyprus Control Area EIC Code |
| marketParticipant.mRID | Party / Coding scheme | Not used |
| marketAgreement.mRID | Agreement identification | Not used |
| measure_Unit.name | Measurement Unit | MAW (Megawatt) |
| currency_Unit.name | Currency | EUR |
| marketEvaluationPoint.mRID | Market Evaluation point | Not used |
| Series_Period | Period | See below |

| Series_Period | Attribute Name | Attribute Description |
| --- | --- | --- |
| timeInterval | Time Interval | Time interval field has to cover a complete day in business time zone, expressed in UTC - format YYYY-MM-DDTHH:MMZ/YYYY-MM-DDTHH:MMZ |
| resolution | Resolution | 30 min as a step time (PT30M) |
| Point | Point | See below |
| Point | Attribute Name | Attribute Description |
| position | Position | A sequential value representing the relative position within a given time interval. |
| price.amount | Price | Marginal Reserve Price |
| in_Quantity.quantity | In Quantity | 0 |
| in_Quantity_quality | In Quality | Not used |
| out_Quantity_quality | Out Quality | Not used |
| out_Quantity.quantity | Out Quantity | 0 |
| Reason | Reason | Not used |

## Indicative dispatch Schedules

The indicative Energy schedule of a Balancing Service Provider for each Trading Period, which is attained by the solution of the Integrated Scheduling Process.

### Interface Format

The interface will use the CIM Schedule Market Document xsd.

| Schedule_MarketDocument | Attribute Name | Attribute Description |
| --- | --- | --- |
| mRID | mRID | Unique identification of the message for which the time series data is being supplied. |
| revisionNumber | revisionNumber | Version of the message being sent. A message may be sent several times, each transmission being identified by a different version number that starts at 1 and increases sequentially. |
| Type | Message Type | Indicative Dispatch Schedule (Z10) |
| process.processType | Process Type | System operation closure (A04) |
| process.classificationType | Schedule Classification Type | Exchange (A01) |
| sender_MarketParticipant.mRID | Sender Identification / Coding Scheme | TSOC EIC Code |
| sender_MarketParticipant.marketRole.type | Sender Role | System Operator (A04) |
| receiver_MarketParticipant.mRID | Receiver Identification / Coding Scheme | EIC of the participant. |
| EIC of the participant. | Receiver Role | Resource Provider (A27) |
| createdDateTime | Message Date and Time | Date and time of transmission of the data. The time must be expressed in UTC as YYYY-MMDDTHH:MM:SSZ. |
| schedule_Time_Period.timeInterval | Message Time Interval | The beginning and ending date and time of the period covered by the message containing the schedule. |
| domain.mRID | Domain | Cyprus Control Area EIC Code |
| TimeSeries | Time Series | See below |

| Timeseries | Attribute Name | Attribute Description |
| --- | --- | --- |
| mRID | mRID | Unique identifier of the data time series. |
| version | version | The version number assigned to the time series in question. The time series version shall be the same as the document version number for its initial transmission. Each time a time series is modified the version number is assigned the same value as the schedule document version number used to transmit the modified information. |
| businessType | Business type | Production (A01) Consumption (A04) |
| product | Product | Active power (8716867000016) |
| objectAggregation | Object aggregation | Resource Object (A06) |
| in_Domain.mRID | Area / Coding scheme | Cyprus Control Area EIC Code (for BT=A01) Not used (for BT=A02) |
| out_Domain.mRID | Area / Coding scheme | Cyprus Control Area EIC Code (for BT=A02) Not used (for BT=A01) |
| marketEvaluationPoint.mRID | Market Evaluation Point | Resource Object EIC Code |
| in_MarketParticipant.mRID | Party / Coding scheme | Not used |
| out_MarketParticipant.mRID | Party / Coding scheme | Not used |
| marketAgreement.type | Agreement type | Not used |
| marketAgreement.mRID | Agreement identification | Not used |
| curveType | Curve Type | Sequential fixed size block (A01) |
| measurement_Unit.name | Measurement unit | MAW |
| Reason | Reason code | Not used |
| Period | Series_Period | See below |
| connectingLine_RegisteredResource.mRID | Registered Resource Identification | Not used |

| Series_Period | Attribute Name | Attribute Description |
| --- | --- | --- |
| timeInterval | Time Interval | This information provides the start and end date and time of the period being reported. |
| resolution | Resolution | 30 min as a step time (PT30M) |
| Point | Point | List of values, see below |

| Point | Attribute Name | Attribute Description |
| --- | --- | --- |
| position | Position | A sequential value representing the relative position within a given time interval. |
| Quantity | Quantity | Quantity (in MAW) |
| Reason | Reason | Not used |

## Planned Activation of Balancing Energy Offer

The Planned Activation of the Balancing Energy Offer of a Balancing Service Provider for each Trading Period, which is attained by the solution of the Integrated Scheduling Process.

### Interface Format

The interface will use the CIM Energy Account Market Document xsd.

| EnergyAccount_MarketDocument | Attribute Name | Attribute Description |
| --- | --- | --- |
| mRID | mRID | Unique identification of the message for which the time series data is being supplied. |
| revisionNumber | revisionNumber | Version of the message being sent. A message may be sent several times, each transmission being identified by a different version number that starts at 1 and increases sequentially. |
| Type | Message/Document Type | Activated balancing quantities (A83) |
| docStatus | Document Status | Intermediate (A01) |
| process.processType | Process type | System Operation Closure (A04) |
| process.classificationType | Classification type | Detail (A01) |
| sender_MarketParticipant.mRID | Sender identification / Coding scheme | EIC Code of Cyprus / coding scheme = A01 |
| sender_MarketParticipant.marketRole.type | Sender role | System Operator (A04) |
| receiver_MarketParticipant.mRID | Receiver identification / Coding scheme | EIC Code of Market Participant |
| receiver_MarketParticipant.marketRole.type | Receiver role | Resource Provider (A27) |
| createdDateTime | createdDateTime | Date and time of transmission of the data. The time must be expressed in UTC as YYYY-MMDDTHH:MM:SSZ. |
| domain.mRID | Domain / Coding scheme | Cyprus Control Area EIC Code |
| period.timeInterval | ESMP_DateTimeInterval | See below |
| TimeSeries | Time Series | See below |

| Timeseries | Attribute Name | Attribute Description |
| --- | --- | --- |
| mRID | mRID | Unique identifier of the data time series. |
| businessType | Business type | Control area balance energy (A86) |
| product | Product | Active Energy (8716867000030) |
| objectAggregation | Object aggregation | Resource Object (A06) |
| area_Domain.mRID | Area / Coding scheme | Cyprus Control Area EIC Code |
| marketParticipant.mRID | Party / Coding scheme | Not used |
| marketAgreement.mRID | Agreement identification | Not used |
| measure_Unit.name | Measurement Unit | MWH (Megawatt hour) |
| currency_Unit.name | Currency | EUR |
| marketEvaluationPoint.mRID | Market Evaluation point | EIC Code of the Resource Object |
| Series_Period | Period | See below |

| Series_Period | Attribute Name | Attribute Description |
| --- | --- | --- |
| timeInterval | Time Interval | Time interval field has to cover a complete day in business time zone, expressed in UTC - format YYYY-MM-DDTHH:MMZ/YYYY-MM-DDTHH:MMZ |
| resolution | Resolution | 30 min as a step time (PT30M) |
| Point | Point | See below |

| Point | Attribute Name | Attribute Description |
| --- | --- | --- |
| position | Position | A sequential value representing the relative position within a given time interval. |
| price.amount | Price | Awarded Price |
| in_Quantity.quantity | In Quantity | Awarded quantity for purchase |
| in_Quantity_quality | In Quality | Not used |
| out_Quantity_quality | Out Quality | Not used |
| out_Quantity.quantity | Out Quantity | Awarded quantity for sale |
| Reason | Reason | Not used |

## Planned ISP Marginal Balancing Energy prices

The indicative Marginal Balancing Energy prices for each Trading Period, which are attained by the solution of the Integrated Scheduling Process.

### Interface Format

The interface will use the CIM Energy Account Market Document xsd.

| EnergyAccount_MarketDocument | Attribute Name | Attribute Description |
| --- | --- | --- |
| mRID | mRID | Unique identification of the message for which the time series data is being supplied. |
| revisionNumber | revisionNumber | Version of the message being sent. A message may be sent several times, each transmission being identified by a different version number that starts at 1 and increases sequentially. |
| Type | Message/Document Type | Price Document (A44) |
| docStatus | Document Status | Intermediate (A01) |
| process.processType | Process type | System Operation Closure (A04) |
| process.classificationType | Classification type | Detail (A01) |
| sender_MarketParticipant.mRID | Sender identification / Coding scheme | EIC Code of Cyprus / coding scheme = A01 |
| sender_MarketParticipant.marketRole.type | Sender role | System Operator (A04) |
| receiver_MarketParticipant.mRID | Receiver identification / Coding scheme | EIC Code of Cyprus (Public) / coding scheme = A01 |
| receiver_MarketParticipant.marketRole.type | Receiver role | System Operator (A04) |
| createdDateTime | createdDateTime | Date and time of transmission of the data. The time must be expressed in UTC as YYYY-MMDDTHH:MM:SSZ. |
| domain.mRID | Domain / Coding scheme | Cyprus Control Area EIC Code |
| period.timeInterval | ESMP_DateTimeInterval | See below |
| TimeSeries | Time Series | See below |

| Timeseries | Attribute Name | Attribute Description |
| --- | --- | --- |
| mRID | mRID | Unique identifier of the data time series. |
| businessType | Business type | Control area balance energy (A86) |
| product | Product | Active Energy (8716867000030) |
| objectAggregation | Object aggregation | Scheduling Area (A01) |
| area_Domain.mRID | Area / Coding scheme | Cyprus Control Area EIC Code |
| marketParticipant.mRID | Party / Coding scheme | Not used |
| marketAgreement.mRID | Agreement identification | Not used |
| measure_Unit.name | Measurement Unit | MWH (Megawatt hour) |
| currency_Unit.name | Currency | EUR |
| marketEvaluationPoint.mRID | Market Evaluation point | Not used |
| Series_Period | Period | See below |

| Series_Period | Attribute Name | Attribute Description |
| --- | --- | --- |
| timeInterval | Time Interval | Time interval field has to cover a complete day in business time zone, expressed in UTC - format YYYY-MM-DDTHH:MMZ/YYYY-MM-DDTHH:MMZ |
| resolution | Resolution | 30 min as a step time (PT30M) |
| Point | Point | See below |

| Point | Attribute Name | Attribute Description |
| --- | --- | --- |
| position | Position | A sequential value representing the relative position within a given time interval. |
| price.amount | Price | Marginal Balancing Energy Price |
| in_Quantity.quantity | In Quantity | 0 |
| in_Quantity_quality | In Quality | Not used |
| out_Quantity_quality | Out Quality | Not used |
| out_Quantity.quantity | Out Quantity | 0 |
| Reason | Reason | Not used |

## Prospective payments

The prospective payments for the start-up costs of the Generating Units, and the prospective settlements for the Balancing Energy Offer acceptance of Generating Units which are shut down, as attained by the solution of the Integrated Scheduling Process.

### Interface Format

The interface will use the CIM Energy Account Market Document xsd.

| EnergyAccount_MarketDocument | Attribute Name | Attribute Description |
| --- | --- | --- |
| mRID | mRID | Unique identification of the message for which the time series data is being supplied. |
| revisionNumber | revisionNumber | Version of the message being sent. A message may be sent several times, each transmission being identified by a different version number that starts at 1 and increases sequentially. |
| Type | Message/Document Type | Prospective payment Document (Z13) |
| docStatus | Document Status | Intermediate (A01) |
| process.processType | Process type | System Operation Closure (A04) |
| process.classificationType | Classification type | Detail (A01) |
| sender_MarketParticipant.mRID | Sender identification / Coding scheme | EIC Code of Cyprus / coding scheme = A01 |
| sender_MarketParticipant.marketRole.type | Sender role | System Operator (A04) |
| receiver_MarketParticipant.mRID | Receiver identification / Coding scheme | EIC Code of Market Participant |
| receiver_MarketParticipant.marketRole.type | Receiver role | Resource Provider (A27) |
| createdDateTime | createdDateTime | Date and time of transmission of the data. The time must be expressed in UTC as YYYY-MMDDTHH:MM:SSZ. |
| domain.mRID | Domain / Coding scheme | Cyprus Control Area EIC Code |
| period.timeInterval | ESMP_DateTimeInterval | See below |
| TimeSeries | Time Series | See below |

| Timeseries | Attribute Name | Attribute Description |
| --- | --- | --- |
| mRID | mRID | Unique identifier of the data time series. |
| businessType | Business type | Prospective payment for start-up cost (Z14) Prospective payment for the Balancing Energy Offer Acceptance (Z15) |
| product | Product | Active Energy (8716867000030) |
| objectAggregation | Object aggregation | Resource Object (A06) |
| area_Domain.mRID | Area / Coding scheme | Cyprus Control Area EIC Code |
| marketParticipant.mRID | Party / Coding scheme | Not used |
| marketAgreement.mRID | Agreement identification | Not used |
| measure_Unit.name | Measurement Unit | MWH (Megawatt hour) |
| currency_Unit.name | Currency | EUR |
| marketEvaluationPoint.mRID | Market Evaluation point | EIC Code of the Resource Object |
| Series_Period | Period | See below |

| Series_Period | Attribute Name | Attribute Description |
| --- | --- | --- |
| timeInterval | Time Interval | Time interval field has to cover a complete day in business time zone, expressed in UTC - format YYYY-MM-DDTHH:MMZ/YYYY-MM-DDTHH:MMZ |
| resolution | Resolution | 30 min as a step time (PT30M) |
| Point | Point | See below |

| Point | Attribute Name | Attribute Description |
| --- | --- | --- |
| position | Position | A sequential value representing the relative position within a given time interval. |
| price.amount | Price | Amount referring to the business type |
| in_Quantity.quantity | In Quantity | 0 |
| in_Quantity_quality | In Quality | Not used |
| out_Quantity_quality | Out Quality | Not used |
| out_Quantity.quantity | Out Quantity | 0 |
| Reason | Reason | Not used |

## Balancing Energy Offer Awards

The RTU-based (5-min) awards of upward and downward Balancing Energy Offers of the Balancing Service Providers derived from the solution of the Real-Time Balancing Market, which shall be used for the issuing of the Dispatch Instructions of Balancing Service Providers, in order to attain system balancing.

### Interface Format

The interface will use the CIM Energy Account Market Document xsd.

| EnergyAccount_MarketDocument | Attribute Name | Attribute Description |
| --- | --- | --- |
| mRID | mRID | Unique identification of the message for which the time series data is being supplied. |
| revisionNumber | revisionNumber | Version of the message being sent. A message may be sent several times, each transmission being identified by a different version number that starts at 1 and increases sequentially. |
| Type | Message/Document Type | Activated balancing quantities (A83) |
| docStatus | Document Status | Final (A02) |
| process.processType | Process type | System Operation Closure (A04) |
| process.classificationType | Classification type | Detail (A01) |
| sender_MarketParticipant.mRID | Sender identification / Coding scheme | EIC Code of Cyprus / coding scheme = A01 |
| sender_MarketParticipant.marketRole.type | Sender role | System Operator (A04) |
| receiver_MarketParticipant.mRID | Receiver identification / Coding scheme | EIC Code of Market Participant |
| receiver_MarketParticipant.marketRole.type | Receiver role | Resource Provider (A27) |
| createdDateTime | createdDateTime | Date and time of transmission of the data. The time must be expressed in UTC as YYYY-MMDDTHH:MM:SSZ. |
| domain.mRID | Domain / Coding scheme | Cyprus Control Area EIC Code |
| period.timeInterval | ESMP_DateTimeInterval | See below |
| TimeSeries | Time Series | See below |

| Timeseries | Attribute Name | Attribute Description |
| --- | --- | --- |
| mRID | mRID | Unique identifier of the data time series. |
| businessType | Business type | Control area balance energy (A86) |
| product | Product | Active Energy (8716867000030) |
| objectAggregation | Object aggregation | Resource Object (A06) |
| area_Domain.mRID | Area / Coding scheme | Cyprus Control Area EIC Code |
| marketParticipant.mRID | Party / Coding scheme | Not used |
| marketAgreement.mRID | Agreement identification | Not used |
| measure_Unit.name | Measurement Unit | MWH (Megawatt hour) |
| currency_Unit.name | Currency | EUR |
| marketEvaluationPoint.mRID | Market Evaluation point | EIC Code of the Resource Object |
| Series_Period | Period | See below |

| Series_Period | Attribute Name | Attribute Description |
| --- | --- | --- |
| timeInterval | Time Interval | Time interval field has to cover a complete RTBM horizon in business time zone, expressed in UTC - format YYYY-MM-DDTHH:MMZ/YYYY-MM-DDTHH:MMZ |
| resolution | Resolution | 5 min as a step time (PT5M) |
| Point | Point | See below |

| Point | Attribute Name | Attribute Description |
| --- | --- | --- |
| position | Position | A sequential value representing the relative position within a given time interval. |
| price.amount | Price | Awarded Price |
| in_Quantity.quantity | In Quantity | Awarded quantity for purchase |
| in_Quantity_quality | In Quality | Not used |
| out_Quantity_quality | Out Quality | Not used |
| out_Quantity.quantity | Out Quantity | Awarded quantity for sale |
| Reason | Reason | Not used |

## Marginal Balancing Energy Prices

The price (in €/MWh) derived for each RTU from the solution of the Real-Time Balancing Market. The Marginal Balancing Energy Price is equal to the shadow price (Lagrange multipliers) of the system imbalance constraints of the Real-Time Balancing Market model; namely, for each RTU the Marginal Balancing Energy Price is equal to the attained decrease in the total system imbalance cost when the system imbalance is reduced by 1 MW.

### Interface Format

The interface will use the CIM Energy Account Market Document xsd.

| EnergyAccount_MarketDocument | Attribute Name | Attribute Description |
| --- | --- | --- |
| mRID | mRID | Unique identification of the message for which the time series data is being supplied. |
| revisionNumber | revisionNumber | Version of the message being sent. A message may be sent several times, each transmission being identified by a different version number that starts at 1 and increases sequentially. |
| Type | Message/Document Type | Price Document (A44) |
| docStatus | Document Status | Final (A02) |
| process.processType | Process type | System Operation Closure (A04) |
| process.classificationType | Classification type | Detail (A01) |
| sender_MarketParticipant.mRID | Sender identification / Coding scheme | EIC Code of Cyprus / coding scheme = A01 |
| sender_MarketParticipant.marketRole.type | Sender role | System Operator (A04) |
| receiver_MarketParticipant.mRID | Receiver identification / Coding scheme | EIC Code of Cyprus (Public) / coding scheme = A01 |
| receiver_MarketParticipant.marketRole.type | Receiver role | System Operator (A04) |
| createdDateTime | createdDateTime | Date and time of transmission of the data. The time must be expressed in UTC as YYYY-MMDDTHH:MM:SSZ. |
| domain.mRID | Domain / Coding scheme | Cyprus Control Area EIC Code |
| period.timeInterval | ESMP_DateTimeInterval | See below |
| TimeSeries | Time Series | See below |

| Timeseries | Attribute Name | Attribute Description |
| --- | --- | --- |
| mRID | mRID | Unique identifier of the data time series. |
| businessType | Business type | Control area balance energy (A86) |
| product | Product | Active Energy (8716867000030) |
| objectAggregation | Object aggregation | Scheduling Area (A01) |
| area_Domain.mRID | Area / Coding scheme | Cyprus Control Area EIC Code |
| marketParticipant.mRID | Party / Coding scheme | Not used |
| marketAgreement.mRID | Agreement identification | Not used |
| measure_Unit.name | Measurement Unit | MWH (Megawatt hour) |
| currency_Unit.name | Currency | EUR |
| marketEvaluationPoint.mRID | Market Evaluation point | Not used |
| Series_Period | Period | See below |

| Series_Period | Attribute Name | Attribute Description |
| --- | --- | --- |
| timeInterval | Time Interval | Time interval field has to cover a complete RTBM horizon in business time zone, expressed in UTC - format YYYY-MM-DDTHH:MMZ/YYYY-MM-DDTHH:MMZ |
| resolution | Resolution | 5 min as a step time (PT5M) |
| Point | Point | See below |

| Point | Attribute Name | Attribute Description |
| --- | --- | --- |
| position | Position | A sequential value representing the relative position within a given time interval. |
| price.amount | Price | Marginal Balancing Energy Price |
| in_Quantity.quantity | In Quantity | 0 |
| in_Quantity_quality | In Quality | Not used |
| out_Quantity_quality | Out Quality | Not used |
| out_Quantity.quantity | Out Quantity | 0 |
| Reason | Reason | Not used |

## Dispatch Instructions

A real-time instruction by the Transmission System Operator to a Balancing Service Provider to produce/consume a certain amount of Energy within a Real-Time Unit Interval.

### Interface Format

The interface will use the CIM Schedule Market Document xsd.

| Schedule_MarketDocument | Attribute Name | Attribute Description |
| --- | --- | --- |
| mRID | mRID | Unique identification of the message for which the time series data is being supplied. |
| revisionNumber | revisionNumber | Version of the message being sent. A message may be sent several times, each transmission being identified by a different version number that starts at 1 and increases sequentially. |
| Type | Message Type | Dispatch Instruction (Z14) |
| process.processType | Process Type | System operation closure (A04) |
| process.classificationType | Schedule Classification Type | Exchange (A01) |
| sender_MarketParticipant.mRID | Sender Identification / Coding Scheme | TSOC EIC Code |
| sender_MarketParticipant.marketRole.type | Sender Role | System Operator (A04) |
| receiver_MarketParticipant.mRID | Receiver Identification / Coding Scheme | EIC of the participant. |
| EIC of the participant. | Receiver Role | Resource Provider (A27) |
| createdDateTime | Message Date and Time | Date and time of transmission of the data. The time must be expressed in UTC as YYYY-MMDDTHH:MM:SSZ. |
| schedule_Time_Period.timeInterval | Message Time Interval | The beginning and ending date and time of the period covered by the message containing the schedule. |
| domain.mRID | Domain | Cyprus Control Area EIC Code |
| TimeSeries | Time Series | See below |

| Timeseries | Attribute Name | Attribute Description |
| --- | --- | --- |
| mRID | mRID | Unique identifier of the data time series. |
| version | version | The version number assigned to the time series in question. The time series version shall be the same as the document version number for its initial transmission. Each time a time series is modified the version number is assigned the same value as the schedule document version number used to transmit the modified information. |
| businessType | Business type | Start-up Instruction (Z16) Shutdown Instruction (Z17) Ramp Rate Intruction (Z18) Unit on AGC (Z19) Resource with a minimum run time of longer than 10 minutes (Z20) Resource partially available for dispatch (Z21) Resource unavailable for dispatch (Z22) Resource already dispatched (Z23) Awarded FCR in Up direction (Z24) Awarded FCR in Down direction (Z25) Awarded aFRR in Up direction (Z26) Awarded aFRR in Down direction (Z27) Awarded mFRR in Up direction (Z28) Awarded mFRR in Down direction (Z29) Awarded RR in Up direction (Z30) Awarded RR in Down direction (Z31) Dispatch MW Gross (Z32) Dispatch MW Net (Z33) |
| product | Product | Active power (8716867000016) |
| objectAggregation | Object aggregation | Resource Object (A06) |
| in_Domain.mRID | Area / Coding scheme | Cyprus Control Area EIC Code (for BT=A01) Not used (for BT=A02) |
| out_Domain.mRID | Area / Coding scheme | Cyprus Control Area EIC Code (for BT=A02) Not used (for BT=A01) |
| marketEvaluationPoint.mRID | Market Evaluation Point | Resource Object EIC Code |
| in_MarketParticipant.mRID | Party / Coding scheme | Not used |
| out_MarketParticipant.mRID | Party / Coding scheme | Not used |
| marketAgreement.type | Agreement type | Not used |
| marketAgreement.mRID | Agreement identification | Not used |
| curveType | Curve Type | Sequential fixed size block (A01) |
| measurement_Unit.name | Measurement unit | MAW for BT= Z18, Z24, Z25, Z26, Z27 C62 (dimensionless quantity) for Z16, Z17, Z19, Z20, Z21, Z22, Z23 |
| Reason | Reason code | Not used |
| Period | Series_Period | See below |
| connectingLine_RegisteredResource.mRID | Registered Resource Identification | Not used |

| Series_Period | Attribute Name | Attribute Description |
| --- | --- | --- |
| timeInterval | Time Interval | This information provides the start and end date and time of the period being reported. Time interval field has to cover a complete RTBM horizon in business time zone, expressed in UTC - format YYYY-MM-DDTHH:MMZ/YYYY-MM-DDTHH:MMZ |
| resolution | Resolution | 5 min as a step time (PT5M) |
| Point | Point | List of values, see below |

| Point | Attribute Name | Attribute Description |
| --- | --- | --- |
| position | Position | A sequential value representing the relative position within a given time interval. |
| Quantity | Quantity | Quantity (Boolean for Z16, Z17, Z19, Z20, Z21, Z22, Z23 – MW for Z18, Z24, Z25, Z26, Z27) |
| Reason | Reason | Not used |

# Settlement Application Output XML Interfaces

## Statement file

The initial settlement statements sent by the MO to each Participant, which contain the data used to perform the settlement calculations, as well as the debits / credits from this clearance.

### Interface Format

The interface will use the CIM Energy Account Market Document xsd.

| EnergyAccount_MarketDocument | Attribute Name | Attribute Description |
| --- | --- | --- |
| mRID | mRID | Unique identification of the message for which the time series data is being supplied. |
| revisionNumber | revisionNumber | Version of the message being sent. A message may be sent several times, each transmission being identified by a different version number that starts at 1 and increases sequentially. |
| Type | Message/Document Type | DAM (Day-Ahead Market) Statement (Z20) IMB (Imbalance) Statement (Z21) ANS (Ancillary Services) Statement (Z22) TUS (Transmission Use of System) Statement (Z23) DUS (Distribution Use of System) Statement (Z24) UPL (Uplift Account) Statement (Z25) NOC (Non-Compliance Charge) Statement (Z26) REC (Reconciliation) Statement (Z27) AGG (Aggregate Settlement) Statement (Z28) |
| docStatus | Document Status | Intermediate (A01) Final (A02) |
| process.processType | Process type | Settlement (Z02) |
| process.classificationType | Classification type | Detail (A01) |
| sender_MarketParticipant.mRID | Sender identification / Coding scheme | EIC Code of Cyprus / coding scheme = A01 |
| sender_MarketParticipant.marketRole.type | Sender role | Imbalance settlement responsible (A05) |
| receiver_MarketParticipant.mRID | Receiver identification / Coding scheme | EIC Code of Market Participant |
| receiver_MarketParticipant.marketRole.type | Receiver role | Resource Provider (A27) |
| createdDateTime | createdDateTime | Date and time of transmission of the data. The time must be expressed in UTC as YYYY-MMDDTHH:MM:SSZ. |
| domain.mRID | Domain / Coding scheme | Cyprus Control Area EIC Code |
| period.timeInterval | Accounting period | See below |
| TimeSeries | Time Series | See below |

| Timeseries | Attribute Name | Attribute Description |
| --- | --- | --- |
| mRID | mRID | Unique identifier of the data time series. |
| businessType | Business type | For message type Z20 (DAM Statement) B01: DAERo,p,ro,t B02: DAEPb,lr,ro,t For message type Z21 (IMB Statement) B10: CINSTQbrp,bsp,type,t B11: CCUEbrp,bsp,type,t B12: CUNINSTQbrp,bre,type,t B13: ABE_UPbrp,bsp,type,u B14: ABE_DNbrp,bsp,type,u B15: INSTbrp,bsp,type,t B16: MQp,ro,type,t B17: INSTQbrp,bsp,type,t B18: MSQp,ro,type,t B19: MSQMbrp,bsp,type,t B20: UNINSTQbrp,bre,type,t B21 : Dispatch_Instruction_MWbrp,bre,u For message type Z22 (ANS Statement) B30: CFCRp,bsp,type,t B31: CaFRRp,bsp,type,t B32: CmFRRp,bsp,type,t B33: CRRp,bsp,type,t B34: RMGC_Up,ro,t B35: CCUAp,ro,t B36: CSUCp,ro,t B37: FCR_UPp,bsp,type,t B38: FCR_DNp,bsp,type,t B39: aFRR_UPp,bsp,type,t B40: aFRR_DNp,bsp,type,t B41: mFRR_UPp,bsp,type,t B42: mFRR_DNp,bsp,type,t B43: RR_UPp,bsp,type,t B44: RR_DNp,bsp,type,t B45: EMGCp,ro,t B46: CUAp,ro,t For message type Z25 (UPL Statement) B50: UPLIFT1lr,t B51: UPLIFT2_1lr,t B52: UPLIFT_bre2_2brp,bre,t For message type Z26 (NOC Statement) B60: NCEO_Dp,D B61: NCAS_Dp,bsp,D B62: FMP_Dp,D B63: NCNDP_Dp,D B64: NCAV_Dp,D B65: NCTD_Dp,D B66: NCBEO_Dbrp,bsp,D B67: NCRO_Dp,D B69: NCDIbrp,bsp,t B70: NCNPBE_UPp,bsp,type,t B71: NCNPBE_DNp,bsp,type,t For message type Z27 (REC Statement) B80: CRGp,t B81: CROp,t B82: CRG_RESp,t B83: C_LRp,t B84: DeltaQGp,t B85: DeltaQOp,t B86: DeltaQG_RESp,t B87: DeltaEQ_LRp,t B88: REC_UPLIFT2_1lr,t For message type Z28 (AGG Statement) C01: AGG_CINSTQ_Dbrp,D – Difference C02 : CINSTQ_Dbrp,D – Current C03 : CINSTQ_Dbrp,D - Previous C04 : AGG_CUNINSTQ_Dbrp,D - Difference C05: CUNINSTQ_Dbrp,D – Current C06: CUNINSTQ_Dbrp,D - Previous C07: AGG_CAFCR_Dp,D - Difference C08: CAFCR_Dp,D - Current C09: CAFCR_Dp,D - Previous C10: AGG_CAaFRR_Dp,D – Difference C11: CAaFRR_Dp,D - Current C12: CAaFRR_Dp,D - Previous C13: AGG_CAmFRR_Dp,D - Difference C14: CAmFRR_Dp,D - Current C15: CAmFRR_Dp,D - Previous C16: AGG_CARR_Dp,D - Difference C17: CARR_Dp,D - Current C18: CARR_Dp,D - Previous C19: AGG_RMGC_Dp,D - Difference C20: RMGC_Dp,D - Current C21: RMGC_Dp,D - Previous C22: AGG_CCUA_Dp,ro,D - Difference C23: CCUA_Dp,ro,D - Current C24: CCUA_Dp,ro,D - Previous C25: AGG_CSUC_Dp,ro,D - Difference C26: CSUC_Dp,ro,D - Current C27: CSUC_Dp,ro,D – Previous C28: AGG_UPLIFT1_Dlr,D - Difference C29: UPLIFT1_Dlr,D - Current C30: UPLIFT1_Dlr,D - Previous C31: AGG_NCAS_Dp,bsp,D - Difference C32: NCAS_Dp,bsp,D - Current C33: NCAS_Dp,bsp,D - Previous C34: AGG_FMP_Dp,D – Difference C35: FMP_Dp,D - Current C36: FMP_Dp,D - Previous C37: AGG_NCNDP_Dp,D - Difference C38: NCNDP_Dp,D - Current C39: NCNDP_Dp,D - Previous C40: AGG_NCAV_Dp,D - Difference C41: NCAV_Dp,D - Current C42: NCAV_Dp,D - Previous C43: AGG_NCTD_Dp,D - Difference C44 NCTD_Dp,D - Current C45: NCTD_Dp,D - Previous C46: AGG_NCBEO_Dbrp,bsp,D - Difference C47: NCBEO_Dbrp,bsp,D – Current C48: NCBEO_Dbrp,bsp,D - Previous C49: AGG_NCRO_Dp,D - Difference C50: NCRO_Dp,D - Current C51: NCRO_Dp,D - Previous C52: AGG_NCDI_Dbrp,D - Difference C53: NCDI_Dbrp,D - Current C54: NCDI_Dbrp,D – Previous C55: AGG_NCNPBE_TOT_Dp,D - Difference C56: NCNPBE_TOT_Dp,D - Current C57: NCNPBE_TOT_Dp,D - Previous C58: AGG_NCEO_Dp,D – Difference C59: NCEO_Dp,D –Current C60: NCEO_Dp,D - Previous |
| product | Product | Active Energy (8716867000030) |
| objectAggregation | Object aggregation | Party (A03) |
| area_Domain.mRID | Area / Coding scheme | EIC code / coding scheme of Scheduling Area |
| marketParticipant.mRID | Party / Coding scheme | Not used |
| marketAgreement.mRID | Agreement identification | Not used |
| measure_Unit.name | Measurement Unit | MWH Megawatt hour |
| currency_Unit.name | Currency | EUR |
| marketEvaluationPoint.mRID | Market Evaluation point | Not used |
| Series_Period | Period | See below |

| Series_Period | Attribute Name | Attribute Description |
| --- | --- | --- |
| timeInterval | ESMP_DateTimeInterval | Time interval field has to cover a complete day in business time zone, expressed in UTC - format YYYY-MM-DDTHH:MMZ/YYYY-MM-DDTHH:MMZ |
| resolution | Resolution | 5 min as step time (PT5M) or 30 min as a step time (PT30M) or daily (P1D) depending on the determinant resolution |
| Point | Point | See below |

| Point | Attribute Name | Attribute Description |
| --- | --- | --- |
| position | Position | A sequential value representing the relative position within a given time interval. |
| price.amount | Price | For all BT = Amount referring to the business type |
| in_Quantity.quantity | In Quantity | For all BT = 0 |
| in_Quantity_quality | In Quality | Not used |
| out_Quantity_quality | Out Quality | Not used |
| out_Quantity.quantity | Out Quantity | For all BT = 0 |
| Reason | Reason | Not used |

## Notice file

The finall settlement statements sent by the MO to each Participant, which contain the data used to perform the settlement calculations, as well as the debits / credits from this clearance.

### Interface Format

The interface will use the CIM Energy Account Market Document xsd.

| EnergyAccount_MarketDocument | Attribute Name | Attribute Description |  |
| --- | --- | --- | --- |
| mRID | mRID | Unique identification of the message for which the time series data is being supplied. |  |
| revisionNumber | revisionNumber | Version of the message being sent. A message may be sent several times, each transmission being identified by a different version number that starts at 1 and increases sequentially. |  |
| Type | Message/Document Type | DAM Notice (Z30) IMB Notice (Z31) ANS Notice (Z32) TUS Notice (Z33) DUS Notice (Z34) UPL Notice (Z35) NOC Notice (Z36) REC Notice (Z37) AGG Notice (Z38) |  |
| docStatus | Document Status | Intermediate (A01) Final (A02) |  |
| process.processType | Process type | Billing (Z03) |  |
| process.classificationType | Classification type | Detail (A01) |  |
| sender_MarketParticipant.mRID | Sender identification / Coding scheme | EIC Code of Cyprus / coding scheme = A01 |  |
| sender_MarketParticipant.marketRole.type | Sender role | Imbalance settlement responsible (A05) |  |
| receiver_MarketParticipant.mRID | Receiver identification / Coding scheme | EIC Code of Market Participant |  |
| receiver_MarketParticipant.marketRole.type | Receiver role | Resource Provider (A27) |  |
| createdDateTime | createdDateTime | Date and time of transmission of the data. The time must be expressed in UTC as YYYY-MMDDTHH:MM:SSZ. |
| domain.mRID | Domain / Coding scheme | Cyprus Control Area EIC Code |
| period.timeInterval | ESMP_DateTimeInterval | See below |
| TimeSeries | Time Series | See below |

| Timeseries | Attribute Name | Attribute Description |
| --- | --- | --- |
| mRID | mRID | Unique identifier of the data time series. |
| businessType | Business type | For message type Z30 (DAM Notice) D01: DAER_Dp,D D02: DAEP_Dlr,D For message type Z31 (IMB Notice) D10: CINSTQ_Mbrp,M D11: CUNINSTQ_Mbrp,M For message type Z32 (ANS Notice) D20: CAFCR_Mp,M D21: CAaFRR_Mp,M D22: CAmFRR_Mp,M D23: CARR_Mp,M D24: RBS_Mp,ro,type,M D25: RMGC_Mp,M D26: CCUA_Mp,ro,M D27: CSUC_Mp,ro,M For message type Z33 (TUS Notice) D30: CTUOS_Mlr,M For message type Z34 (DUS Notice) D40: CDUOSL_Mlr,M D41: CDUOSM_Mlr,M For message type Z35 (UPL Notice) D50: UPLIFT1_Mlr,M D51: UPLIFT2_Mbrp,M D52: UPLIFT3_Mlr,M D53: UPLIFT4_Mlr,M D54: UPLIFT5_Mlr,M D55: UPLIFT6_Mlr,M D56: UPLIFT7_Mlr,M For message type Z36 (NOC Notice) D60: NCEO_Mp,M D61: NCAS_Mp,M D62: FMP_Mp,M D63: NCNDP_Mp,M D64: NCAV_Mp,M D65: NCTD_Mp,M D66: NCBEO_Mbrp,bsp,M D67: NCRO_Mp,M D68: NCRO_RR_Mp,M D69: NCRO_BS_Mp,M D70: NCDI_Mbrp,M D71: NCNPBE_TOT_Mp,M D73: NCBAL_LOAD_Mlr,M D74: NCBAL_GEN_Mp,bsp,M D75: NCCU_Mp,bsp,M For message type Z37 (REC Notice) D80: C_LR_Mp,M D81: CRO_Mp,M D82: CRG_RES_Mp,M D83: CRG_Mp,M D84: REC_CTUOS_Mlr,M D85: REC_CDUOSL_Mlr,M D86: REC_CDUOSM_Mlr,M D87: REC_UPLIFT2_1_Mlr,t D88: REC_UPLIFT3_Mlr,M D89: REC_UPLIFT5_Mlr,M D90: REC_UPLIFT6_Mlr,M D91: REC_UPLIFT7_Mlr,M For message type Z38 (AGG Notice) E01: AGG_CINSTQ_Mbrp,M - Difference E02: CINSTQ_Mbrp,M - Current E03: CINSTQ_Mbrp,M - Previous E04: AGG_CUNINSTQ_Mbrp,M - Difference E05: CUNINSTQ_Mbrp,M - Current E06: CUNINSTQ_Mbrp,M - Previous E07: AGG_CAFCR_Mp,M - Difference E08: CAFCR_Mp,M - Current E09: CAFCR_Mp,M - Previous E10: AGG_CAaFRR_Mp,M - Difference E11: CAaFRR_Mp,M - Current E12: CAaFRR_Mp,M - Previous E13: AGG_CAmFRR_Mp,M - Difference E14: CAmFRR_Mp,M - Current E15: CAmFRR_Mp,M - Previous E16: AGG_CARR_Mp,M - Difference E17: CARR_Mp,M - Current E18: CARR_Mp,M - Previous E19: AGG_RBS_Mp,ro,type,M - Difference E20: RBS_Mp,ro,type,M - Current E21: RBS_Mp,ro,type,M - Previous E22: AGG_RMGC_Mp,M - Difference E23: RMGC_Mp,M - Current E24: RMGC_Mp,M - Previous E25: AGG_CCUA_Mp,ro,M - Difference E26: CCUA_Mp,ro,M - Current E27: CCUA_Mp,ro,M - Previous E28: AGG_CSUC_Mp,ro,M - Difference E29: CSUC_Mp,ro,M - Current E30: CSUC_Mp,ro,M - Previous E31: AGG_CTUOS_Mlr,M - Difference E32: CTUOS_Mlr,M - Current E33: CTUOS_Mlr,M - Previous E34: AGG_CDUOSL_Mlr,M - Difference E35: CDUOSL_Mlr,M - Current E36: CDUOSL_Mlr,M - Previous E37: AGG_CDUOSM_Mlr,M - Difference E38: CDUOSM_Mlr,M - Current E39: CDUOSM_Mlr,M - Previous E40: AGG_UPLIFT1_Mlr,M - Difference E41: UPLIFT1_Mlr,M - Current E42: UPLIFT1_Mlr,M - Previous E43: AGG_UPLIFT2_Mbrp,M - Difference E44: UPLIFT2_Mbrp,M - Current E45: UPLIFT2_Mbrp,M - Previous E46: AGG_UPLIFT3_Mlr,M - Difference E47: UPLIFT3_Mlr,M - Current E48: UPLIFT3_Mlr,M - Previous E49: AGG_UPLIFT4_Mlr,M - Difference E50: UPLIFT4_Mlr,M - Current E51: UPLIFT4_Mlr,M - Previous E52: AGG_UPLIFT5_Mlr,M - Difference E53: UPLIFT5_Mlr,M - Current E54: UPLIFT5_Mlr,M - Previous E55: AGG_UPLIFT6_Mlr,M - Difference E56: UPLIFT6_Mlr,M - Current E57: UPLIFT6_Mlr,M - Previous E58: AGG_UPLIFT7_Mlr,M - Difference E59: UPLIFT7_Mlr,M - Current E60: UPLIFT7_Mlr,M - Previous E61: AGG_NCAS_Mp,M - Difference E62: NCAS_Mp,M - Current E63: NCAS_Mp,M - Previous E64: AGG_FMP_Mp,M - Difference E65: FMP_Mp,M - Current E66: FMP_Mp,M - Previous E67: AGG_NCNDP_Mp,M - Difference E68: NCNDP_Mp,M - Current E69: NCNDP_Mp,M - Previous E70: AGG_NCAV_Mp,M - Difference E71: NCAV_Mp,M - Current E72: NCAV_Mp,M - Previous E73: AGG_NCTD_Mp,M - Difference E74: NCTD_Mp,M - Current E75: NCTD_Mp,M - Previous E76: AGG_NCBEO_Mbrp,bsp,M - Difference E77: NCBEO_Mbrp,bsp,M - Current E78: NCBEO_Mbrp,bsp,M - Previous E79: AGG_NCRO_Mp,M - Difference E80: NCRO_Mp,M - Current E81: NCRO_Mp,M - Previous E82: AGG_NCRO_RR_Mp,M - Difference E83: NCRO_RR_Mp,M - Current E84: NCRO_RR_Mp,M - Previous E85: AGG_NCRO_BS_Mp,M - Difference E86: NCRO_BS_Mp,M - Current E87: NCRO_BS_Mp,M - Previous E88: AGG_NCDI_Mbrp,M - Difference E89: NCDI_Mbrp,M - Current E90: NCDI_Mbrp,M - Previous E91: AGG_NCNPBE_TOT_Mp,M - Difference E92: NCNPBE_TOT_Mp,M - Current E93: NCNPBE_TOT_Mp,M - Previous E94: AGG_NCBAL_LOAD_Mlr,M - Difference E95: NCBAL_LOAD_Mlr,M - Current E96: NCBAL_LOAD_Mlr,M - Previous E97: AGG_NCBAL_GEN_Mp,bsp,M - Difference E98: NCBAL_GEN_Mp,bsp,M - Current E99: NCBAL_GEN_Mp,bsp,M - Previous F01: AGG_NCCU_Mp,bsp,M - Difference F02: NCCU_Mp,bsp,M - Current F03: NCCU_Mp,bsp,M - Previous F04: AGG_NCEO_Mp,M – Difference F05: NCEO_Mp,M – Current F06: NCEO_Mp,M - Previous |
| product | Product | 8716867000030 Active Energy |
| objectAggregation | Object aggregation | Party (A03) |
| area_Domain.mRID | Area / Coding scheme | EIC code / coding scheme of Scheduling Area |
| marketParticipant.mRID | Party / Coding scheme | Not used |
| marketAgreement.mRID | Agreement identification | Not used |
| measure_Unit.name | Measurement Unit | MWH Megawatt hour |
| currency_Unit.name | Currency | EUR |
| marketEvaluationPoint.mRID | Market Evaluation point | Not used |
| Series_Period | Period | See below |

| Series_Period | Attribute Name | Attribute Description |
| --- | --- | --- |
| timeInterval | ESMP_DateTimeInterval | Time interval field has to cover a complete day in business time zone, expressed in UTC - format YYYY-MM-DDTHH:MMZ/YYYY-MM-DDTHH:MMZ for Message type Z30 (DAM Notice) Time interval field has to cover a complete month in business time zone, expressed in UTC - format YYYY-MM-DDTHH:MMZ/YYYY-MM-DDTHH:MMZ for Message type Z31 (IMB Notice), Z32 (ANS Notice), Z33 (TUS Notice), Z34 (DUS Notice), Z35 (UPL Notice), Z36 (NOC Notice) Time interval field has to cover a complete quarter in business time zone, expressed in UTC - format YYYY-MM-DDTHH:MMZ/YYYY-MM-DDTHH:MMZ for Message type Z37 (REC Notice), Z38 (AGG Notice) |
| resolution | Resolution | 1 day (P1D) for Message type Z30 (DAM Notice) 1 month (P1M) for Message type Z31 (IMB Notice), Z32 (ANS Notice), Z32 (TUS Notice), Z34 (DUS Notice), Z35 (UPL Notice), Z36 (NOC Notice), Z37 (REC Notice), Z38 (AGG Notice) |
| Point | Point | See below |

| Point | Attribute Name | Attribute Description |
| --- | --- | --- |
| position | Position | A sequential value representing the relative position within a given time interval. |
| price.amount | Price | For all BT = Amount referring to the business type |
| in_Quantity.quantity | In Quantity | For all BT = 0 |
| in_Quantity_quality | In Quality | Not used |
| out_Quantity_quality | Out Quality | Not used |
| out_Quantity.quantity | Out Quantity | For all BT = 0 |
| Reason | Reason | Not used |

# Associated xsd Schemas

The following xsd schemas are used as “import” in all aforementioned xsd’s.